## Material cost
COST DATA OF CENTRALISED MAERIALS FOR R.E. AND DISTRIBUTION WORKS
2014-15
SL NO | SAP Material code | Description of materials | UNIT | Rupees | Latest rate | Latest LPO No/Date | As per EPDCL cost data 2014-15 | Consider rate
1) SUPPORTS AND FIXTURES, IRON, STEEL AND CEMENT
1.A) RS JOISTS
| MST00032 | RS JOIST 175X85MM | MT | 55347.05
| MST00029 | RS JOIST 150X150MM | MT | 55347.05
| MST00030 | RS JOIST 150X75MM | MT | 55347.05
| MST00037 | RS JOIST 175 X 50 MM | MT | 55347.05
1.B) PSCC POLES
| PLS00014 | PSCC SPUN POLES 12.5 MTS | EA | 11700
| PLS00007 | PSCC SPUN POLES 11 MTS | EA | 10700
|  | PSCC Poles 11.0MTS | EA | 7600
| PLS00004 | PSCC POLES 9.1 MTS 280KGS | EA | 3600
| PLS00002 | PSCC POLES 8 MTS 200KGS | EA | 1980
| PLS00001 | PSCC POLES 8 MTS 140KGS | EA | 1875
| PLS00010 | RCC FENCING POLES 3 MTS | EA | 278.1
| PLS00009 | RCC FENCING POLES 2 MTS | EA | 113.3
| PLS00011 | RCC BASE PLATES | EA | 72.1
1.C) STEEL MATERIALS
| MST00012 | MS CHANNEL 100X50 | MT | 53886.51
| MST00013 | MS CHANNEL 75X40 | MT | 53886.51
| MST00011 | MS CHANNEL 150X75 | MT | 53886.51
| MST00003 | MS ANGLE 65X65X6 | MT | 53886.51
| MST00002 | MS ANGLE 50X50X6 | MT | 53886.51
| MST00009 | MS ANGLE 130X130X12 | MT | 53886.51
| MST00015 | MS FLAT 75X8 | MT | 53886.51
| MST00014 | MS FLAT 50X6 | MT | 53886.51
| MST00019 | MS ROD 20MM | MT | 53886.51
| MST00018 | MS ROD 16MM | MT | 53886.51
1.D) STEEL WIRE
| WRS00011 | HT STEEL WIRE 4MM | MT | 62191
| WRS00006 | GI STAYWIRE 7/3.15MM (10 SWG) | MT | 65649
| WRS00007 | GI STAYWIRE 7/2.5MM (12 SWG) | MT | 64839
| WRS00005 | G.I. WIRE 4MM ( NO.8) | MT | 62300
1.E) BOLTS AND NUTS
| BNT00028 | MS BOLTS & NUTS 5/8" X 6" | MT | 80628.4
| BNT00031 | MS BOLTS & NUTS 5/8" X 9" | MT | 80628.4
| BNT00024 | MS BOLTS & NUTS 5/8" X 2.5" | MT | 80628.4
| BNT00025 | MS BOLTS & NUTS 5/8" X 3" | MT | 80628.4
| BNT00026 | MS BOLTS & NUTS 5/8" X 4" | MT | 80628.4
| BNT00006 | GI BOLTS & NUTS 1/2" X 1 1/2" | MT | 80628.4
| BNT00009 | GI BOLTS & NUTS 3/8" X 1 1/2" | MT | 80628.4
| BNT00022 | MS BOLTS & NUTS 5/8" X 1.5" | MT | 80628.4
| BNT00023 | MS BOLTS & NUTS 5/8" X 2" | MT | 80628.4
| BNT00030 | MS BOLTS & NUTS 5/8" X 8" | MT | 80628.4
| BNT00035 | MS BOLTS & NUTS 3/8" X 1 1/2" FULL TH | MT | 80628.4
| BNT00038 | MS BOLTS & NUTS 1/2"X1 1/2" | MT | 80628.4
| BNT00043 | MS FULL NUTS 16MM (1" Thick) | MT | 80628.4
| BNT00044 | MS HALF NUTS 16MM (1/2" Thick) | MT | 80628.4
| BNT00045 | M.S.HEXAGONAL POLISHED NUTS 3/4 | MT | 80628.4
1.F) CEMENT
| CEM00004 | OP CEMENT 53 GRADE FOR POLES | MT | 5871
2) INSULATORS AND HARDWARE
2.A) 33 KV
| INS30002 | 33KV SOLID CORE INSULATORS | EA | 1307.07
| INS30004 | 33KV 70KN COMPOSITE POLYMER INSULATOR | EA | 648.9
| INS30003 | 33KV POST TYPE INSULATORS (STAGS) | EA | 803.4
| INS30006 | 33KV 70KN DISC INSULATORS | EA | 391.4
| INS30001 | 33KV PIN INSULATORS | EA | 387
| HWR00003 | 33KV GI PINS | EA | 162.74
| HWR00004 | 33KV METAL PARTS (B&S) | SET | 180
2.B) 11 KV
| INS10006 | 11KV SOLID CORE INSULATORS FOR AB SWITCH | EA | 221
| INS10007 | 11KV SOLID CORE INSULATORS FOR HG FUSES | EA | 133.9
| INS10009 | 11KV POLYMER INSULATORS (B&S) | EA | 257.5
| INS10003 | 11KV POLYMER INSULATORS (C&T) | EA | 195.7
| INS10011 | 11 KV POLYMER DISC | EA | 257.5
| INS10008 | 11KV POST TYPE INSULATORS | EA | 232.78
| INS10004 | 11KV DISC INSULATORS (B&S) | EA | 206
| INS10002 | 11KV DISC INSULATORS (C&T) | EA | 216.3
| INS10001 | 11KV PIN INSULATORS | EA | 54
| HWR00001 | 11KV GI PINS | EA | 59
| HWR00002 | 11KV METAL PARTS (C&T) | SET | 82.4
| INS10005 | 11KV GUY INSULATORS (HT) | EA | 41
2.C) LT
| INS00001 | LT PIN INSULATORS | EA | 11
| HWR00015 | LT GI PINS | EA | 28.84
| INS00002 | LT SHACKLES | EA | 12
| HWR00016 | LT METAL PARTS | SET | 31.93
| INS00005 | BUS-BAR INSULATORS WITH ALUMINIUM STRIP | EA | 61.8
| INS00003 | LT GUY INSULATORS | EA | 12
3) CROSS ARMS
3.A) 33 KV CROSS ARMS AND TOP FITTINGS
| FBE00026 | 33KV TAPING CHANNEL X ARMS | EA | 1112.4
| FBE30003 | 33KV V CROSS ARMS WITH CLAMPs | EA | 1175
| FBE30004 | 33KV V CROSS ARMS WITHOUT CLAMPS | EA | 1025.88
| FBE30018 | 33KV CHANNEL V X ARMs FOR SPUN POLE WITH CLAMPs | EA | 1352.39
| FBE30006 | 33KV TOP CLEAT WITH CLAMPs | EA | 519.12
3.B) 11KV CROSS ARMS AND TOP FITTINGS
| FBE10004 | 11KV M.S CHANNEL CROSS ARM(TAPPING)75X40 | EA | 545
| FBE10006 | 11KV HORIZONTAL CROSS ARMS | EA | 463.5
| FBE10033 | 11KV TAPPING X ARM W 100X50MM MS CHANNEL | EA | 648.9
| FBE10035 | 11KV MS CH X ARM(TAPING)75X40 WITH CLAMP | EA | 492.34
| FBE10001 | 11KV ANGLE V-X ARMS 65X65X6 W/O CLAMPS | EA | 477.92
| FBE10002 | 11KV VX ARMS WITH MSCHANNEL 140KG | EA | 574.74
| FBE10003 | 11KV VCROSS ARMS WITH CLAMPS 200KG | EA | 574.74
| FBE10016 | 11KV V 'X' ARM(75X40) WITH CLAMP FOR 9.1 | EA | 549
| FBE10028 | 11KV ANGLE V-X ARM WITH CLAMP 140 KG | EA | 533
| FBE10034 | 11KV ANGLE V-X ARM WITH CLAMP 200 KG | EA | 533
| FBE00025 | 11 KV SIDE ARM WITH STUTT | EA | 1205.1
| FBE10007 | 11KV TOP CLEAT WITH CLAMPS For 8.0 | EA | 281.19
| FBE10021 | 11KV TOP CLEAT WITH CLAMPS FOR 9.1 | EA | 281
| FBE10032 | 11KV Spl. Type Top Fittings with Clamps | EA | 175.1
3.C) LT CROSS ARMS
| FBE00008 | LT 3 PH. 5 WIRE CROSS ARMS | EA | 381.1
| FBE00039 | LT RAISING 3-PHASE 5 WIRE CROSS ARM | EA | 1215.4
| FBE00020 | LT 3PH 4 WIRE X ARMS WITHOUT CLAMP | EA | 247.2
| FBE00007 | LT 3 PH 4WIRE CROSS ARM & CLAMP (200KG) | EA | 371.83
| FBE00009 | LT 3 PH 4WIRE CROSS ARM & CLAMP (140KG) | EA | 371.83
| FBE00030 | LT 3PH ANGLE X-ARM W CLAMP[50X50X6] 140KG | EA | 226.6
| FBE00036 | LT 3PH SIDE ARMS WITH STUTT | SET | 824
| FBE00045 | LT 3PH SIDE ARMS WITH STUTT & CLAMPS | SET | 885.8
| FBE00034 | LT 1 PH. 3 WIRE CROSS ARM WITHOUT CLAMP | EA | 319.3
| FBE00006 | LT 1 PH. 3 WIRE CROSS ARM WITH CLAMP | EA | 391.4
| FBE00029 | LT 1PH 3 W ANGLE X-ARM W CLAMP [50X50X6) | EA | 391.4
| FBE00033 | LT 1 PH. 2 WIRE CROSS ARMS W/O CLAMP | EA | 267.8
| FBE00024 | LT STUT AND SIDE ARM | EA | 1009.4
3.D) BACK CLAMPS
| FBE30001 | 33KV M.S.BACK CLAMPS | EA | 139.05
| FBE00034 | 33KV M.S.BACK CLAMPS FOR SPUN POLES | EA | 161.71
| FBE30002 | 33KV M.S.STAY CLAMPS | EA | 218.36
| FBE00002 | M.S.BACK CLAMPS FOR 9.1 M PSCC POLE | EA | 99.91
| FBE00040 | M.S.BACK CLAMPS FOR 9.1 M POLE 75X8 | EA | 97.85
| FBE00001 | M.S.BACK CLAMPS FOR 8 MPSCC POLES 200KG | EA | 72.1
| FBE00041 | MS.BACK CLAMP 8M POLES 200KG(SLOT HOLE) | EA | 72.1
| FBE00048 | MS STRUT CLAMPS FOR 8M/200KG POLES (SET) | EA | 77.25
| FBE00038 | MS STAY CLAMP FOR 140 KG POLE | EA | 72.1
| FBG00019 | M.S.STAY CLAMPS SPECIAL | EA | 72.1
| FBE00021 | POLE MOUNTING CLAMPS | EA | 36.05
3.E) STAY SETS
| FBE30008 | 33KV MS STAY SETS WITH BASE PLATE | EA | 432.6
| FBE30009 | 33KV MS STAY SETS WITHOUT BASEPLATE | EA | 360.5
| FBE30010 | 33KV MS STAY SET WITHOUT CLAMPS | EA | 525.3
| FBE30021 | 33KV MS STAY SET WITH CLAMPS For 9.1MTS POLES |  | 778.68
| FBE10022 | 11KV MS STAY SET WITH CLAMPS | EA | 448.05
| FBE10010 | 11KV MS STAY SETS WITHOUT BASEPLATE | EA | 385
| FBE10023 | 11KV MS STAY SETS WITH OUT CLAMPS | SET | 226.6
| FBE00004 | M.S.STAY CLAMPS FOR 9.1 M PSCC POLE | EA | 144.2
| FBE00028 | M.S.STAYSET WITH CLAMPS FOR 8M PSCCPOLES | EA | 319.3
| FBE00003 | M.S.STAY CLAMPS FOR 8 MPSCC POLES (SET) | EA | 82.4
3.F) DP STRUCTURE MATERIALS
| FBG00032 | DP STRUCTURE TOTAL SET | SET | 3924.3
| FBG00010, FBG00018 | POLE MOUNT ARGMT FOR 16/25KVADTR(CHANEL) | EA | 2018.8
| FBE00044 | MOUNTING ARRANGEMENT FOR 1PH DTR | SET | 356
4) CONDUCTORS
| CDR00005 | AAA CONDUCTOR 200 SQ. MM | KM | 132334.4
| CDR00004 | AAA CONDUCTOR 100 SQ. MM | KM | 50953
| CDR00003 | AAA CONDUCTOR 55 SQ. MM | KM | 29490
| CDR00002 | AAA CONDUCTOR 34 SQ. MM | KM | 17685
| CDR00011 | ACSR CONDUCTOR ZEBRA | KM | 234819.4
| CDR00010 | ACSR CONDUCTOR PANTHER 200 Sq.mm | KM | 131077.8
| CDR00008 | ACSR CONDUCTOR (30+7/3.00MM) 200 SQMM | KM | 130974.8
| CDR00006 | ACSR CONDUCTOR 7/2.11 | KM | 12730.8
| CDR00014 | AL 59 CONDUCTOR 109 SQ MM | KM | 47009.2
5) CABLES
5.A) 33 KV XLPE POWER CABLES
| CBX30001 | 33KV XLPE CABLE 3 CORE 400 SQ. MM | M | 1957
| CBX30004 | 33KV XLPE CABLE 3 CORE 300 SQ. MM | M | 1699.5
5.B) 11 KV XLPE POWER CABLES
| CBX10008 | 11KV XLPE CABLE 3 CORE 300 SQ. MM | M | 1236
| CBX10007 | 11KV XLPE CABLE 3 CORE 185 SQ. MM | M | 927
| CBX10006 | 11KV XLPE CABLE 3 CORE 120 SQ. MM | M | 710.7
| CBX10005 | 11KV XLPE CABLE 3 CORE 95 SQ. MM | M | 566.5
| CBX10002 | 11KV XLPE CABLE 3 CORE 35 SQ. MM | M | 339.9
5.C) 11 KV PLIC POWER CABLES
| CBX10001 | 11KV PLIC CABLE 3 CORE 35 SQ. MM | M | 298.7
5.D) LT PVC 1 CORE CABLES (XLPE)
279 | CBX00017 | LT PVC CABLE 1 CORE 185 SQ. MM | M | 118.45
| CBX00009 | LT PVC CABLE 1 CORE 150 SQ. MM | M | 94.76
| CBX00008 | LT PVC CABLE 1 CORE 120 SQ. MM | M | 79
| CBX00007 | LT PVC CABLE 1 CORE 95 SQ. MM | M | 62.83
| CBX00006 | LT PVC CABLE 1 CORE 70 SQ. MM | M | 46.35
| CBX00005 | LT PVC CABLE 1 CORE 50 SQ. MM | M | 36.05
5.E) LT XLPE 1 CORE CABLES
| CBX00002 | LT XLPE CABLE 1 CORE 70 SQ. MM | M | 46.35
5.F) LT XLPE 3 1/2 CORE CABLES
| CBX00015 | LT XLPE CABLE 3 1/2 CORE 185 SQ. MM | M | 329.6
| CBX00014 | LT XLPE CABLE 3 1/2 CORE 120 SQ. MM | M | 302.82
| CBX00013 | LT XLPE CABLE 3 1/2 CORE 95 SQ. MM | M | 236.9
| CBX00012 | LT XLPE CABLE 3 1/2 CORE 70 SQ. MM | M | 190.55
| CBX00018 | LT PVC AL CONTR CABLE 4 CORE 4 SQ. MM | M | 25.75
5.G) LT UNARMOURED 3 1/2 CORE CABLES
| CBP00019 | LT PVC UNARMOURED 3.5 CORE CABLE 150sqmm | M | 339.9
5.H) LT CONTROL CABLES
| CBP00006 | LT PVC CU CONTR CABLE 10 CORE 2.5 SQ. MM | M | 160.68
| CBP00002 | LT PVC CU CONTR CABLE 4 CORE 2.5 SQ. MM | M | 65.92
| CBP00001 | LT PVC CU CONTR CABLE 2 CORE 2.5 SQ. MM | M | 37
| CBX00018 | LT PVC AL CONTR CABLE 4 CORE 4 SQ. MM | M | 26
5.I) LT AERIAL BUNCHED CABLES
| CBA00003 | LT AB CABLE 3 X 16 + 25 SQ. MM | M | 49
| CBA00002 | LT AB CABLE 2 X 16 + 25 SQ. MM | M | 33
| CBA00001 | LT AB CABLE 1 X 16 + 25 SQ. MM | M | 25.75
5.J) LT AERIAL BUNCHED CABLE FITTINGS
| HWR00012 | HARDWARE FOR SUSPENSION CLAMPS(EYEHOOKS) | EA | 175.1
| SCB00058 | LT CONNECTOR FOR AB CABLE WTH Insulation | EA | 82.4
| HWR00009 | DEAD END CLAMPS WITH EYE HOOK | EA | 113.3
5.K) CABLE JOINTING KITS
| SCB00069 | 33KV 3X400 XLPE UG CABLE ST TH JOINT KIT | EA | 45088.25
| SCB00061 | 33KV XLPE CABLE JOINTING KIT 3X400SQMM | EA | 10351.5
| SCB00027 | 11KV HEAT SHRKABL JOIT.KIT FOR 3X300SQMM | EA | 0
| SCB00055 | 11KV CABLE JOINTING KITS 3X185 SQ.MM | EA | 2925.2
| SCB00025 | 11KV CABLE JOINTING KIT 3X35SQMM OUTDOOR | EA | 772.5
6) POWER TRANSFORMERS, CAPACITORS AND TRASFORMER OIL
| PTR00009 | 33/11 KV 10MVA POWER TRANSFORMER | EA | 5386320
| PTR00008 | 33/11 KV 8MVA POWER TRANSFORMER | EA | 4535000
| PTR00006 | 33/11 KV 5MVA POWER TRANSFORMER | EA | 3345440
| PTR00005 | 33/11 KV 3.15MVA POWER TRANSFORMER | EA | 2856190
| CPT10013 | 11KV CAPACITOR BANK WITH VCB & ACCESSORIES | EA | 1013247.05
| OFO10009 | TRANSFORMER OIL (with Drums) | L | 79.31
7) DISTRIBUTION TRANSFORMERS
7.A) 3PH DTRs
| DTC30009 | 3PH 315KVA DTR CRGO CSP | EA | 553440
| DTA30013 | 3PH 315KVA DTR AMARPHOUS CSP | EA | 553440
| DTC30011 | 3PH 250KVA DTR CRGO CSP | EA | 315618
| DTC30113 | 3PH 250KVA DTR CRGO CONVENTIONAL | EA | 315618
| DTA30007 | 3PH 160KVA DTR AMARPHOUS | EA | 233940
| DTC30127 | 3PH 160KVA DTR AMARPHOUS/CRGO CSP BEE 5* RATING | EA | 233940
| DTC30007 | 3PH 160KVA DTR CRGO CSP | EA | 233940
| DTC30118 | 3-PH 160 KVA DTR WITH BEE BEE 3* RATING | EA | 233940
| DTC30106 | 3PH 100KVA DTR CRGO CONVENTIONAL | EA | 142800
| DTA30006 | 3PH 100KVA DTR AMARPHOUS | EA | 142800
| DTC30131 | 3PH 100KVA DTR AMARPHOUS/CRGO with 5 star | EA | 142800
| DTC30006 | 3PH 100KVA DTR CRGO CSP | EA | 142800
| DTC30116 | 3PH 100KVA DTR CRGO CONV BEE 3* RATING |  | 142800
| DTC30122 | 3PH 100KVA DTR CRGO CONV BEE 5* RATING | EA | 142800
| DTC30005 | 3PH 75 KVA DTR CRGO CSP | EA | 91928
| DTC30105 | 3PH 75 KVA DTR CRGO CONVENTIONAL | EA | 91928
| DTC30104 | 3PH 63 KVA DTR CRGO CONVENTIONAL | EA | 115200
| DTC30004 | 3PH 63 KVA DTR CRGO CSP | EA | 115200
| DTA30004 | 3PH 63 KVA DTR AMARPHOUS | EA | 115200
| DTC30129 | 3PH 63 KVA DTR AMARPHOUS CSP BEE 5* RATING | EA | 115200
| DTC30115 | 3PH 63 KVA DTR CRGO CONV BEE 3* RATING | EA | 115200
| DTC30003 | 3PH 50 KVA DTR CRGO CSP | EA | 69010
| DTC30103 | 3PH 50 KVA DTR CRGO CONVENTIONAL | EA | 69010
| DTC30111 | 3PH 40 KVA DTR CRGO CONV BEE 3* RATING | EA | 98350
| DTC30128 | 3PH 40 KVA DTR CRGO CONVL BEE 3* RATING | EA | 98350
| DTC30130 | 3PH 40 KVA DTR AMARPHOUS CONV BEE 5* RATING | EA | 98350
| DTC30102 | 3PH 25 KVA DTR CRGO CONVENTIONAL | EA | 61216
| DTC30116 | 3PH 25 KVA DTR CRGO CONV BEE 3* RATING | EA | 61216
| DTC30123 | 3PH 25 KVA DTR CRGO CONV BEE 5* RATING | EA | 61216
| DTC30002 | 3PH 25 KVA DTR CRGO CSP | EA | 61216
| DTC30101 | 3PH 16 KVA DTR CRGO CONV 3* RATING | EA | 53857
| DTC30001 | 3PH 16 KVA DTR CRGO CSP | EA | 53857
| DTC30132 | 3PH 16 KVA DTR CRGO/AMARPHOUS CONV 5* RATING (COPPER) | EA | 69668
| DTC30112 | 3PH 15 KVA DTR CRGO CONVENTIONAL | EA | 37080
| DTA30011 | 3PH 15 KVA DTR AMARPHOUS | EA | 37080
| DTC10001 | 1PH 5 KVA DTR CRGO CSP | EA | 24139
| DTC10101 | 1PH 5 KVA DTR CRGO CONVENTIONAL | EA | 24139
| DTC10002 | 1PH 10 KVA DTR CRGO CSP | EA | 27501
| DTC10103 | 1PH 10 KVA DTR 11KV/1.732 CRGO CONV | EA | 27501
| DTC10004 | 1PH 15 KVA DTR CRGO CSP | EA | 37522
| DTA10003 | 1PH 15 KVA DTR AMARPHOUS | EA | 37522
| DTC10104 | 1PH 15 KVA DTR CRGO CONVENTIONAL | EA | 37522
| DTC10107 | 1PH 16 KVA DTR CRGO/AMARPHOUS CSP | EA | 45810
8) SWITCH CONTROL AND PROTECTIVE GEAR
8.A) CIRCUIT BREAKERS AND RELAYS
| BRK30001 | 33KV SF6 CIRCUIT BREAKER W/O PANEL | EA | 360706
| BRK30002 | 33KV FEEDER VCB WITH CT'S&CONTROL PANEL | EA | 345256
| BRK30016 | 33KV Feder VCB W/O CT's&with Contl Panel | EA | 283677.45
| BRK30017 | 33KV SF6 CIRCUIT BREAKER CONTROL PANEL | EA | 212180
| BRK30005 | 33KV VCB W/O CT'S&CONTROL PANEL(220V DC) | EA | 206866.23
| BRK30003 | 33KV VCB W/O CT'S&CONTROL PANEL(24V DC) | EA | 275415
| BRK30019 | 33KV FEEDER VCB Without CONTROL RELAY PANEL | EA | 312750
| BRK10002 | 11KV FEEDER VCB WITH CT'S&CONTROL PANEL | EA | 245528
| BRK10010 | 11KV LV CONTROL VCB WITH RELAY PANEL | EA | 172283.98
| BRK10004 | 11KV LV VCB with CTs and Control panels | EA | 278542.9
| BRK10011 | 11KV FEEDER CONTROL VCB WITH RELAY PANEL | EA | 166729.19
8.B) SWITCH GEAR ACCOSSIORIES
| BRK30014 | 33KV TWIN FEDR CONTL&RELY PANEL(220V DC) | EA | 147135.5
| BRK30013 | 33KV HV/LV RELAY PANEL | EA | 84696.9
| BRK30011 | 33KV CONTROL PANEL WITH ENERGY METER | EA | 78496.3
| BRK30010 | 33KV CONTROL PANEL WITHOUT ENERGY METER | EA | 74263
| BRK30012 | 33KV INDOOR CONTROL PANEL | EA | 46216.1
| BRK00002 | 11KV RING MAIN UNITS 5 WAY | EA | 642720
| BRK10006 | 11KV 220V RELAY CONTROL PANEL | EA | 124321
| BRK10012 | 11KV FEEDER CONTROL RELAY PANEL | EA | 39964
| BRK10008 | ALARAM PANEL SUITABLE FOR 11KV | EA | 29174.75
9) CURRENT TRANSFORMERS
9.A) 33 KV CTs
| ITR30031 | 33KV CT'S 200-100-50/1-1A | EA | 18570.9
| ITR30032 | 33KV CT'S 200-100-50/5-5A | EA | 18158.9
| ITR30034 | 33KV CT'S 400-200-100/1-1-1A | EA | 18534.85
| ITR30035 | 33KV CT'S 400-200-100/1-1A | EA | 20702
| ITR30036 | 33KV CT'S 400-200-100/5-5A | EA | 18158.9
| ITR30037 | 33KV CT'S 200-100/ 1-1 A | EA | 18158.9
| ITR30070 | 33KV METERING CT'S 100/1A Class 1.0 | EA | 18035.3
| ITR30071 | 33KV METERING CT'S 25/1A 0.2 CL | EA | 16084
| ITR30072 | 33KV METERING CT'S 50/1A 0.2 CL | EA | 20126.2
| ITR30073 | 33KV METERING CT'S 100/1A 0.5 CLASS | EA | 18035.3
| ITR30074 | 33KV METERING CT'S 100/1A 0.2 CLASS | EA | 18859.3
| ITR30075 | 33KV 1PH OUTDOOR CT RATIO 100-50/5-5A | EA | 18035.3
| ITR30076 | 33KV CTs 200-100/1-1-1Amps | EA | 16377
| ITR30077 | 33KV CTs - 150/1.1Amps | EA | 15171.9
| ITR30078 | 33KV CTs 200/1A CLASS 0.2 | EA | 23391.3
| ITR30079 | 33 KV INDOOR EPOXY RESIN CAST CT | EA | 23896
| ITR30080 | 33KV CTs 200/1A CLASS 0.2S ACCURACY | EA | 20280.7
| ITR30101 | 33KV METRNG CT 50/1A CLASS 0.2S ACCURACY | EA | 16895
| ITR30110 | 33KV METRNG CT 100/1A CLASS 0.2S ACCURACY | EA | 15903
| ITR30104 | 33KV METRNG CT 150/1A CLASS 0.2S ACCURACY | EA | 15903
| ITR30111 | 33KV METRNG CT 25/1A CLASS 0.2S ACCURACY | EA | 16895
9.B) 33 KV PTs
| ITR30011 | 33KV 1PH P.T.S 100VA BURDEN CLASS 0.5 | EA | 17253
| ITR30012 | 33KV 1PH P.T.S 100VA BURDEN CLASS 0.2 | EA | 21628
| ITR30100 | 33KV 1PH 200VA PT class 1.00 | EA | 11845
| ITR30015 | 33KV 1PH P.T.S 110V, 10VA BURDEN | EA | 20909
9.C) 11 KV CTs
| ITR10005 | 11 KV CT 200-100/1-1A (METERING CORE) | EA | 8827.1
| ITR10006 | 11 KV CT 200-100/5-5A (METERING CORE) | EA | 11463.9
| ITR00009 | 11 KV CTS -600-300/1.A | EA | 15657.03
| ITR10010 | 11 KV CT 50-100/1A | EA | 8198.8
| ITR10011 | 11 KV CT 600-300-150/1A | EA | 9630.5
| ITR10012 | 11KV CT'S 50-100/5A | EA | 8198.8
| ITR10050 | 11KV CT'S 100-50/5A | EA | 7333.6
| ITR10051 | 11KV CT'S 200-100/5-5A | EA | 8538.7
| ITR10052 | 11KV CT'S 200-100-50/5-5A | EA | 11566.9
| ITR10053 | 11KV CT'S 400-200/1-1A | EA | 11051.9
| ITR10055 | 11KV CT'S 400-200-100/1-1A | EA | 14389.1
| ITR10056 | 11KV CT'S 400-200-100/5-5A | EA | 13791.7
| ITR10057 | 11KV CT'S 600-300-150/1-1-0.5775A | EA | 15199.71
| ITR10071 | 11KV POLYCRETE CT RATIO 200-100/1-1A | EA | 8178.2
| ITR10072 | 11KV POLYCRETE CT RATIO 200-100/5-5A | EA | 8827.1
| ITR10073 | 11KV CTs - 200 - 150 / 1.1A | EA
9.D) 11 KV PTs
| ITR10020 | 11KV 3PH P.T.S | EA | 18334
9.E) 11 KV CTPT sets
| ITR10032 | 11KV C.T.P.T. SET 75/5A | EA | 39965
| ITR10029 | 11KV C.T.P.T. SET 60/5A | EA | 44502
| ITR10028 | 11KV C.T.P.T. SET 40/5A | EA | 39965
| ITR10026 | 11KV C.T.P.T. SET 20/5A | EA | 39965
| ITR10025 | 11KV C.T.P.T. SET 10/5A | EA | 39965
| ITR10083 | 11KV C.T.P.T. SET 5/5A | EA | 32496.5
| ITR10035 | 11KV BOTH SIDE CABLE ENTRY INDOOR 10/5A | EA | 32418.22
| ITR10036 | 11KV BOTH SIDE CABLE ENTRY INDOOR 20/5A | EA | 31930
| ITR10037 | 11KV OD PL MOUNT CTPT 60/5A 80KA 0.5SEC | EA | 31044.2
| ITR10075 | 11KV CTS OF RATIO 600-300/1-1-0.5775A | EA | 15429.4
| ITR30102 | 11 KV, 20/5A NEUTRAL CURRENT TRANSFORMER | EA | 47740.5
| ITR30103 | 11 KV/110V RESIDUAL VOLTAGE TRANSFORMER | EA | 47740.5
| ITR40001 | 3PH 0-500V 30V VARRIAC | EA | 18334
| ITR40002 | CONSTANT VOLTAGE TRS. 150V 3A BHEL | EA
10) AB SWITCHES
10.A) 33 KV
| ABS30010 | 33KV 800A CONV. AB SWITCH WITH S.C.I | EA | 39800
| ABS30004 | 33KV 800A CONV. AB SWITCH WITH P.T.I | EA | 27279.55
| ABS30007 | 33KV 800A ABSWITCH 100A FUSE TY WITH INS | EA | 22763
| ABS30009 | 33KV 800A ABSWITCH 75A FUSE TY WITH INSL | EA | 22763
| ABS30008 | 33KV 800A ABSWITCH 40A FUSE TY WITH INSL | EA | 22886.6
| ABS30002 | 33KV 400A AB SWITCH WITH INSULATORS | EA | 21537.3
10.B) 11KV
| ABS10015 | 11KV 800A CONV. AB SWITCH WITH P.T.I | EA | 15887.75
| ABS10014 | 11KV 800A D/B AB SWITCH W/O INSULATORS | EA | 12658.7
| ABS10008 | 11KV 400A CONV AB SWITCH WITH P.T.I | EA | 10623.42
| ABS10007 | 11KV 400A CONV AB SWITCH W/O INSULATORS | EA | 4604.1
| ABS10002 | 11KV 200A TT AB SWITCH WITH INSULATORS | EA | 8322.4
| ABS10001 | 11KV 200A TT AB SWITCH W/O INSULATORS | EA | 5582.6
| ABS10004 | 11KV 200A CONV AB SWITCH WITH P.T.I | EA | 9012.5
| ABS10003 | 11KV 200A CONV AB SWITCH W/O INSULATORS | EA | 4120
11) LIGHTNING ARRESTORS
| LAS00004 | 33KV LIGHTNING ARRESTORS STATION TYPE | EA | 4460
| LAS00002 | 11KV LIGHTNING ARRESTORS STATION TYPE | EA | 2977
| LAS00001 | 11KV LIGHTNING ARRESTORS LINE TYPE | EA | 1473
12) HG FUSE SET
| HGF30000 | 33KV 3Ph HG FUSE SETs | EA | 7004
| HGF10002 | 11KV 3 Ph HG FUSE SETS | EA | 2492.6
| HGF10003 | 11KV 1Ph HG FUSE SET WITHOUT INSULATORS | EA | 345.05
| HGF10004 | 11KV 1Ph HG FUSE SET WITH INSULATORS | EA | 381.1
| HGF00003 | LT HG FUSE SETS WITH OUT INSULATORS | EA | 1060.9
| HGF00004 | LT 3 Ph HG FUSE SETS | EA | 1730.4
| HGF00008 | LT 3PH HG FUSE SET WITH SCI | EA | 1166
| HGF00006 | LT 1-PH HG FUSE SET | EA | 610.79
| HGF00007 | FUSE BASE WITH THROWOUT SWITCH 200A,500V | EA | 236.9
| HGF00010 | SUPPORTING INSULATORS FIXING CHANNEL | EA | 412
13) BATTERIES & CHARGERS
13.A) BATTERIES
| BAT00029 | 24V 40AH BATTERY WITH TRICKLE CHARGER | EA | 17000
| BAT00025 | 24V 40AH BATTERY W/O CHARGER | EA | 5587.75
| BAT00073 | 12V-180 AH Exide X press chgd battery | EA | 12617.5
| BAT00064 | 12 V 150 AH BATTERY | EA | 11463.9
| BAT00057 | 12V 130AH BATTERIES | EA | 9774.7
| BAT00059 | 12V 100AH BATTERIES | EA | 8343
| BAT00076 | 12V 100AH MAINTANANCE FREE BATTERY | EA | 7240.9
| BAT00058 | 12V 99AH BATTERIES | EA | 6798
| BAT00043 | 12V 88AH BATTERY | EA | 6658.95
| BAT00051 | 12V 80AH MAINTENANCE FREE BATTERY | EA | 6386
| BAT00016 | 12V 80AH LOW MAINT. LEAD ACID BATTERIES | EA | 6154.25
| BAT00015 | 12V 80AH LEAD ACID BATTERIES | EA | 5999.75
| BAT00074 | DIN 43AH- 12 V EXIDE MAINT FREE BATTERY | EA | 5943.1
| BAT00056 | 12V 42AH MAINTENANCE FREE BATTERIES | EA | 5943.1
| BAT00010 | 12V 40AH MAINTENANCE FREE BATTERIES | EA | 4223
| BAT00075 | 12V 35AH MAINTANANCE FREE BATTERY | EA | 3821.3
| BAT00042 | NS-40 12V.35AH BATTERIES | EA | 3749.2
| BAT00050 | 12V 32AH BATTERY | EA | 3162.1
| BAT00055 | 12V 26AH MAINTENANCE FREE BATTERIES | EA | 2811.9
| BAT00068 | 12 V 22AH BATERY | EA | 2554.4
| BAT00014 | 12V 7AH SMF BATTERY | EA | 849.75
| BAT00008 | 12V 21 PLATES CHARGED BATTERY | EA | 7853.75
| BAT00005 | 12V 15 PLATES BATTERIES | EA | 7153.35
| BAT00004 | 12V 13 PLATES BATTERIES | EA | 6097.6
| BAT00045 | MHD-1500 EXIDE CHARGER BATTERIES | EA | 9125.8
| BAT00044 | MHD-1300 EXIDE CHARGER BATTERIES | EA | 8796.2
| BAT00046 | MM D - 99 TYPE EXIDE BATTERY | EA | 6787.7
| BAT00062 | 26 AH BATTERY & INTERCONNECTING TERMINAL | SET | 7642.6
| BAT00040 | BATTERIES STAND WITH ACCESSARIES | EA | 283.25
13.B) CHARGERS
| BAT00077 | 24V 100AH DUAL BATTERY CHARGER (Max 10A) | EA | 15012.25
14) ENERGY METERS AND METERING EQUIPMENT
14.A) 220KV, 132 KV & 33KV HT TRIVECTOR METERS
| MHT30015 | HT TRIVECTOR 220KV/110V ELE METER 3 PH | EA | 16840.5
| MHT30036 | HT TRIMETER 220KV/110V/100/1A 3 ELEMENT | EA | 16840.5
| MHT30043 | HT TRIVECTOR 132KV/110V,100/1A RLY METER | EA | 16840.5
| MHT30011 | HT TRIV MTR 132KV/110V100/1A15M IP CL0.2 | EA | 16840.5
| MHT30052 | HT TVR MTR 132KV/110V 200/1A 15MIP 0.2S | EA | 16840.5
| MHT30013 | HT TRIVECTOR 132KV/110V, 1A.METER" | EA | 16840.5
| MHT30038 | HT TRIVECTOR 132KV/110V,100/1A TRACTION | EA | 16840.5
| MHT30019 | HT TRVCTR MTR 33KV/110V 100/1A 30MI 0.2C | EA | 16480
| MHT30004 | HT TRIVECTOR 33KV/110V 100/1A METERS | EA | 14337.6
| MHT30021 | 33KV/110V100/1A TVR MTR 15M IP 0.2CL | EA | 14337.6
| MHT30048 | HT TRIVECTOR METER 0.2 SPL CLASS (ABT) | EA | 19291.9
| MHT30051 | HT TRVCTR MTR 33KV/110V 100/1A 15MI 0.2C | EA | 14049.2
| MTO10033 | STATIC TRIMETER 33KV/110V/100/5A 30 MIN | EA | 14038.9
| MHT30018 | HTTRIVECTOR 33KV/110V 200/1A METER,0.2CL | EA | 12802.9
| MHT30008 | HTTRIVECTOR 33KV/110V200/1A MTR0.5C 30MI | EA | 12566
| MHT30037 | HT STATIC TRIVECT METER 33KV/110V/60/5A | EA | 11227
| MHT30005 | HT TRIVECTOR 33KV/110V 50/5A METERS | EA | 5325.1
| MHT30049 | HT TRIVECT.METER 33KV /110V &200/1A 0.5S | EA | 4593.8
| MHT30050 | HT TRIVECT.METER 33KV /110V & 50/1A 0.5S | EA | 4593.8
| MHT30039 | HT TRI 33KV/110V 20/1A 30Min CL 0.5 Metr | EA | 4573.2
| MHT30009 | HT TRVCTR MTR 33KV/110V 400/1A 30MI 0.2C | EA | 4552.6
| MHT30047 | HT STATIC TRIVEC.33KV/110V 200/5A 0.5 CL | EA | 4552.6
| MHT30044 | HT Trvctr Mtr 33KV/110V 400/1A 30MI 0.5C | EA | 4202.4
| MTO10024 | MI AMMETER 0.5A | EA | 82.4
| MHT30057 | 132/110VHTTVR MT 100/1A(AMR TOD & ABT) | EA | 66686
| MHT30060 | 132/110VHTTVR MT 50/1A(AMR TOD & ABT) | EA | 66686
| MHT30062 | 132/110VHTTVR MT 200/1A(AMR TOD & ABT) | EA | 66686
| MHT30058 | 33/110VHT TVR MT 50/1A(AMR TOD & ABT) | EA | 66686
| MHT30061 | 33/110VHTTVR MT 25/1A(AMR TOD & ABT) | EA | 66686
| MHT30064 | 33/110VHTTVR MT 200/1A(AMR TOD & ABT) | EA | 66686
| MHT30065 | 33/110VHTTVR MT 100/1A(AMR TOD & ABT) | EA | 66686
| MHT30059 | 11/110VHTTVR MT 100/1A(AMR TOD & ABT) | EA | 66686
| MHT30066 | 11/110VHTTVR MT 25/1A(AMR TOD & ABT) | EA | 66686
14.B) 11KV HT TRIVECTOR METERS
| MHT10012 | HT TRIV MTR 11KV/110V 200/5A15M IP CL0.2 | EA | 4593.8
| MHT30041 | HT TRIVECTOR 11KV/110V 200/5A METER | EA | 4593.8
| MHT10042 | HT TRIVECT.METER 11KV /110V &200/5A 0.5S | EA | 4593.8
| MHT10025 | HTTRIVECTOR 11KV/110V200/1A MTR0.2C 30MI | EA | 4593.8
| MHT10019 | HTTRIVECTOR 11KV/110V200/1A MTR0.5C 30MI | EA | 4593.8
| MHT10043 | HT TRIVECT.METER 11KV /110V &200/1A 0.5S | EA | 4593.8
| MHT10010 | HT TRIVECTOR 11KV/110V 100/5A METERS | EA | 4593.8
| MHT30022 | 11KV/110V 4W -30Min Int 100/5A Meter | EA | 4593.8
| MHT10036 | HT TRIVECTOR METER CT RATIO 100/1A 30MIP | EA | 4593.8
| MHT10009 | HT TRIVECTOR 11KV/110V 75/5A METERS | EA | 4593.8
| MHT10008 | HT TRIVECTOR 11KV/110V 60/5A METERS | EA | 4593.8
| MHT10007 | HT TRIVECTOR 11KV/110V 50/5A METERS | EA | 4593.8
| MHT10033 | 3P4W 11KV/110V HT Trvctr Mtr 40/5A15M 0.2C | EA | 4593.8
| MHT10006 | HT TRIV MTR 11KV/110V 40/5A 15M IP CL0.2 | EA | 4593.8
| MHT10005 | HT TRIVEC 11KV/110V 20/5A METER CL 0.5 | EA | 4305.4
| MHT10026 | HT TRIVECTOR 11KV/110V 20/5A ,ABB MAKE | EA | 4305.4
| MHT10028 | HT Trvctr Mtr 11KV/110V 20/5A 30MIP 0.5C | EA | 4253.9
| MHT10030 | HT TRIVECTOR METER 11KV/110V 20/5A | EA | 4593.8
| MHT10041 | HT TRIVECT.METER 11KV /110V & 20/5A 0.5S | EA | 4593.8
| MHT10038 | HT ST El'nic Mtr 11/110V 10/5A 0.5C | EA | 4181.8
| MHT10024 | HT TRIVECTOR METER WITH PP BOX 10/5A | EA | 10609
| MHT10003 | HT TRIVEC 11KV/110V 10/5A METERS CL 0.5 | EA | 4243.6
| MHT10040 | HT TRIVECT.METER 11KV /110V & 10/5A 0.5S | EA | 4593.8
| MHT30056 | HTTVRMTR11KV/110V10/5A30MIP 0.5S(RAPDRP) | EA | 5119.1
| MHT30023 | HT STATIC TRIVECTOR METER Wth TTB 10/5A | EA | 7704.4
| MHT30026 | HT TRIVECTOR METER 3X11 KV/110V /10/5A | EA | 4413.55
| MHT10023 | HT METER BOXES | EA | 3738.9
14.C) LT METERS
| MTO10023 | LT TRIVECTOR METER | EA | 3285.7
| MTE30001 | 3 PH 10-40A ELECTRONI METER WITH PP BOX | EA | 1890.05
| MTE30014 | 3PH 10-40A ESE METER(STEP MOTOR)W/O PPBX | EA | 1452.3
| MTE30011 | 3PH 10-40A CONT TY METER W/O PP BOX | EA | 947.6
| MTM30009 | 3 PH 5A ELE MECH METERS | EA | 659.2
| MTM30012 | 3 PH 50A ELE MECH METERS | EA | 659.2
| MTM10001 | 1 PH 2.5-10A ELE MECH METER | EA | 999.1
| MTM10003 | 1 PH 2.5-10A ELE MECHANICAL METER-SICK | EA | 999.1
| MTE10015 | 1PH 5-20A COUNTER TYPE METER WITH PP BOX | EA | 350.2
| MTE10018 | 1PH 5-30A ELECTRO STATIC ENERGY METERS | EA | 947.6
| MTM10006 | 1 PH 5-20A ELE MECHANICAL METER | EA | 751.9
| MTE10014 | 1 PH 5-20A ELE METER WITH PP BOX | EA | 458.35
14.D) CT OPERATED METERS
| MCT30015 | 3PH 200/5A LTCT OPERATED ELE METER CL1.0 | EA | 7725
| MCT30020 | 3PH 4W LT/CT OPTD TRI MTR CLAS 1.00 | EA | 7725
| MCT30007 | 3PH 200/5A LT CT OPERTD TVR METER CL 0.5 | EA | 7725
| MCT30004 | 3PH 125/5A LT CT OPERTD TVR METER CL 0.5 | EA | 7210
| MCT30039 | 3PH4W200/5A LTCTOPTVR MTR CL0.5S(RAPDRP) | EA | 6921.6
| MCT30014 | 3Ø 4W CT OPERATEDMETER WITH PPBOX 125/5A | EA | 7328.45
| MCT30038 | 3P 4W CT OP ELTRI MT125/5A PPB 0.5S W CT | EA | 7261.5
| MCT30016 | 3P 4W CT OP EL TRIV MTR 0.5 125/5A PP BX | EA | 5979.15
| MCT30037 | 3P 4W CT OP EL TRIV MT 125/5A CL 0.5S | EA | 7044.17
| MCT30011 | 3 PH LT CT OPERATED OBSOLETE METER | EA | 1524.4
| MCT30012 | 3 PH LT MD INDICATORS OBSOLETE | EA | 1828.25
| MCT30017 | 3Ph LT/CT OPERATED METERS /5 A Tested | EA | 782.8
| MCT30030 | ASSEMBLED CT METER BOX WITH LT CT 125/5A | EA | 4243.6
| MCT30031 | ASSEMBLED CT METER BOX WITH LT CT 100/5A | EA | 4243.6
| MCT30029 | ASSEMBLED CT METER BOX WITH LT CT 50/5A | EA | 4243.6
| MCT30032 | LTCT METER BOX W 1 CT METER&3 200/5A CTS | EA | 4068.5
| MCT30028 | LTCT METER BOX W 1 CT METER&3 125/5A CTS | EA | 3378.4
| MCT30027 | LTCT METER BOX W1LTCT METER&3 100/5A CTS | EA | 2652.25
| MCT30026 | LTCT METER BOX W1LTCT METER&3 50/5A CTS | EA | 1390.5
| MCT30035 | RIGGED UP 1PH SMC METER BOX LT CTs 50/5A | EA | 1390.5
| MCT30022 | CT OPERATD 11KV/110V 200/5A 4WIRE E.M | EA | 0
| MCT30024 | 1PH 15/5A CT METER WITH BOX | EA | 1709.8
14.E) LT CURRENT TRANSFORMER
| ITR00015 | LT CT'S 200/5A FOR LT TRIVECTOR METERS | EA | 381.1
| ITR00013 | LT CT'S 200/5A | EA | 381.1
| ITR00012 | LT CT'S 125/5A | EA | 412
| ITR00011 | LT CT'S 100/5A | EA | 535.6
| ITR00014 | LT CT'S 50/5A | EA | 540.75
15) BOXES
| BXS00041 | HT METER BOX | EA | 4120
| BXS00011 | A TY(SPL) DIST. BOX WITH 200A,500V FUSE | EA | 5562
| BXS00146 | LT DISTR. BOX 3X2X1 ATYPE SPL.DIST.BOXES | EA | 3502
| BXS00010 | A TYPE BOX | EA | 3090
| BXS00001 | 3 PHASE CT METER BOXES (EMPTY) | EA | 1957
| BXS00172 | 3 PHASE SPECIAL TYPE METER BOXES | EA | 530.45
| BXS00170 | SMC 3 PHASE METER BOXES | EA | 473.8
| BXS00147 | LT METER BOX | EA | 432.6
| BXS00171 | SMC METER BOX FOR HOUSING 1-PH METER &CT | EA | 381.1
16) EARTHING MATERIALS
| EMT00006 | CI EARTH PIPE 80 MM DIA 2.5MTS LENGTH | EA | 2470.97
| EMT00022 | GI EARTH PIPE 40 MM 2.5 MTS LONG | EA | 592
| EMT00018 | GI EARTH FLAT 25 MM X 4 MM | KG | 25.75
17) OTHER MATERIALS
| OTH00057 | A.C. DISTRIBUTION PANELS | EA | 29174.75
| OTH00126 | DC ANNUNCIATION PANEL | EA | 12360
| CAH00060 | HAND HELD COMPUTER FOR SPOT BILLING | EA | 13081
| OMT10030 | CMRI WITH ACCESSORIES | EA | 31621
| FBE00027 | LT OPEN WIRING FUSE SET STRUCTURE | EA | 751.9