## Availab 23-24 (hidden)
Availability of Generating Stations during FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | APRIL |  | May |  | June
|  |  | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU
Dr. NTTPS | 1260 | 9 | 87.29 | 720.6243 | 87.49 | 746.3513
Dr. NTTPS-IV | 500 | 7.5 | 88.22 | 293.7726 | 81.14 | 279.2027
RTPP Stage-I | 420 | 9 | 72.34 | 199.0681 | 75.63 | 215.059
RTPP Stage-II | 420 | 9 | 98.03 | 269.7629 | 94.19 | 267.8357
RTPP Stage-III | 210 | 9 | 82.15 | 113.0318 | 80.3 | 114.1693
RTPP Stage-IV | 600 | 5.75 | 68.27 | 277.9681 | 77.4 | 325.6466
Srisailam RCPH | 770 | 1 | 100 | 548.856
NSRCPH | 90 | 1 | 100 | 64.152
NSTPDC PH | 50 | 1 | 100 | 35.64
Upper Sileru | 240 | 1 | 100 | 171.072
Lower Sileru | 460 | 1 | 100 | 327.888
Donkarayi | 25 | 1 | 100 | 17.82
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH
Minihydel(Chettipet)* | 1 | 1 | 100 | 0.7128
Machkund AP Share* | 60 | 1 | TO BE TAKEN SAME AS DESPATCH
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH
APPDCL Stage-I | 1600 | 6.5 | 56.7 | 610.727 | 64.5 | 717.9005
APPDCL Stage-II | 800 | 5.75 | 68.09 | 369.647 | 66.43 | 372.6564
HNPCL | 1040 | 5.75 | 56.75 | 400.5097 | 72.63 | 529.6679
SEMBCORP-P1 | 230.55 | - | 96.25 | 159.7686
SEMBCORP-P2 | 625 | - | TO BE TAKEN SAME AS DESPATCH

## Aug
Availabilities, Backing down & PLF of each source for the Month of August-2023
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | Remarks
Dr. NTTPS | 1260 | 9 | 65.82 | 561.4909 | 550.157 | 64.4914 | 11.3339
Dr. NTTPS-IV | 500 | 7.5 | 75.25 | 258.9352 | 251.2145 | 73.0062 | 7.7208
RTPP Stage-I | 420 | 9 | 73.57 | 209.2013 | 205.5808 | 72.2968 | 3.6205
RTPP Stage-II | 420 | 9 | 89.27 | 253.8453 | 243.0336 | 85.4678 | 10.8117
RTPP Stage-III | 210 | 9 | 5.7 | 8.1042 | 5.6226 | 3.9546 | 2.4816
RTPP Stage-IV | 600 | 5.75 | 70.69 | 297.4155 | 278.709 | 66.2438 | 18.7065
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 0.2598 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.030536 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | 0.1394 | - | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 42.1686 | 23.8545 | -
Lower Sileru | 460 | 1 | 100 | 338.8176 | 96.5243 | 28.4886 | -
Donkarayi | 25 | 1 | 100 | 18.414 | 9.2118 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.027743 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.39683 | 53.8754 | 0.33973
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 43.9122 | 99.3633 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 14.1278 | - | -
APPDCL Stage-I | 1600 | 6.5 | 56.5 | 628.8586 | 619.39 | 55.6493 | 9.4686
APPDCL Stage-II | 800 | 5.75 | 0.65 | 3.6463 | -2.0595 | -0.36713 | 5.7059
HNPCL | 1040 | 5.75 | 61.75 | 450.3235 | 451.697 | 61.9383 | -
Thermal Powertech Corporation (SEIL P1) | 230.55 | 6 | 93.15 | 159.7794 | 158.7897 | 92.573 | 0
SEIL P 2 | 625 | 6 | TO BE TAKEN SAME AS DESPATCH |  | 386.4 | 88.4008 | 0
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 84.192 | 162.0713 | 159.1501 | 82.8057 | 2.9212
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 103.843 | 50.6615 | 47.8455 | 98.4581 | 2.816
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 64.903 | 80.1819 | 78.1136 | 64.4514 | 2.0684
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 101.042 | 326.4253 | 292.0291 | 90.3185 | 34.3962
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 77.209 | 112.2766 | 93.6869 | 64.5188 | 18.5896
NTPC Kudgi Stage-I | 209.496 | 6.25 | 86.813 | 124.8923 | 95.9112 | 65.6371 | 28.981
NTECL Valluru | 87.165 | 6.69 | 79.586 | 48.035 | 45.0645 | 74.4717 | 2.9705
NLC Stage-I | 46.5381 | 10 | 39.193 | 11.4521 | 12.4296 | 39.8871 | - | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement
NLC Stage-II | 85.47 | 10 | 43.058 | 23.5657 | 25.057 | 43.7825 | -
NLC TPS- I Expn. | 2.289 | 8.5 | 80.49 | 1.7375 | 1.7767 | 114.0203 | -
NLC TPS- II Expn. | 2.68 | 10 | 30.207 | 0.55421 | 0.54352 | 30.2 | 0.010691
NLC NNTPS | 52.68 | 6.25 | 61.596 | 21.3399 | 22.6937 | 61.7611 | -
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 45.86 | 39.5864 | 38.6514 | 43.9836 | 0.935