## Availab 23-24 (hidden)
Availability of Generating Stations during FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | APRIL |  | May |  | June
|  |  | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU
Dr. NTTPS | 1260 | 9 | 87.29 | 720.6243 | 87.49 | 746.3513
Dr. NTTPS-IV | 500 | 7.5 | 88.22 | 293.7726 | 81.14 | 279.2027
RTPP Stage-I | 420 | 9 | 72.34 | 199.0681 | 75.63 | 215.059
RTPP Stage-II | 420 | 9 | 98.03 | 269.7629 | 94.19 | 267.8357
RTPP Stage-III | 210 | 9 | 82.15 | 113.0318 | 80.3 | 114.1693
RTPP Stage-IV | 600 | 5.75 | 68.27 | 277.9681 | 77.4 | 325.6466
Srisailam RCPH | 770 | 1 | 100 | 548.856
NSRCPH | 90 | 1 | 100 | 64.152
NSTPDC PH | 50 | 1 | 100 | 35.64
Upper Sileru | 240 | 1 | 100 | 171.072
Lower Sileru | 460 | 1 | 100 | 327.888
Donkarayi | 25 | 1 | 100 | 17.82
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH
Minihydel(Chettipet)* | 1 | 1 | 100 | 0.7128
Machkund AP Share* | 60 | 1 | TO BE TAKEN SAME AS DESPATCH
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH
APPDCL Stage-I | 1600 | 6.5 | 56.7 | 610.727 | 64.5 | 717.9005
APPDCL Stage-II | 800 | 5.75 | 68.09 | 369.647 | 66.43 | 372.6564
HNPCL | 1040 | 5.75 | 56.75 | 400.5097 | 72.63 | 529.6679
SEMBCORP-P1 | 230.55 | - | 96.25 | 159.7686
SEMBCORP-P2 | 625 | - | TO BE TAKEN SAME AS DESPATCH

## Apr-24
Availability of Generating Stations during April-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | April
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 81.38 | 671.8342 | 624.0363 | 75.5902 | 47.7979
Dr. NTTPS-IV | 500 | 7.5 | 82.85 | 275.8905 | 267.3935 | 80.2983 | 8.497
Dr. NTTPS-V | 800 | 5.75 | 54.84 | 297.7154 | 290.6329 | 53.5354 | 7.0825
RTPP Stage-I | 420 | 9 | 73.79 | 203.0583 | 193.5079 | 70.3195 | 9.5504
RTPP Stage-II | 420 | 9 | 96.43 | 265.3599 | 245.1731 | 89.0942 | 20.1868
RTPP Stage-III | 210 | 9 | 91.72 | 126.1994 | 117.3433 | 85.2835 | 8.8561
RTPP Stage-IV | 600 | 5.75 | 72.13 | 293.6845 | 277.454 | 68.1437 | 16.2305
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.263 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.036591 | - | -
NSTPDC PH | 50 | 1 | 100 | 35.64 | 0.4533 | 1.2719 | -
Upper Sileru | 240 | 1 | 100 | 171.072 | 49.9879 | 29.2204 | -
Lower Sileru | 460 | 1 | 99.17 | 325.1665 | 97.597 | 29.7654 | -
Donkarayi | 25 | 1 | 100 | 17.82 | 9.7151 | 54.5179 | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.025748 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.17685 | 24.8106 | 0.53595
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 12.948 | 30.275 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 0.8018 | 1.9529 | -
APPDCL Stage-I | 1600 | 6.5 | 55.67 | 599.6327 | 586.962 | 54.4936 | 12.6707
APPDCL Stage-II | 800 | 5.75 | 63.08 | 342.4487 | 336.3785 | 61.9619 | 6.0702
HNPCL | 1040 | 5.75 | 71.45 | 504.2541 | 488.4231 | 69.2068 | 15.831
SEIL P1 (230MW) | 230.55 | 5 | 95.783 | 158.9959 | 157.1601 | 94.677 | 1.8358
SEIL P2 (500MW Firm) | 500 | 5 | 72.2639 | 260.15 | 260.0877 | 72.2466
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 93.2644 | 83.938 | 47.0062 | 52.2291 | -
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 96.923 | 178.9071 | 174.4867 | 90.4276 | 4.4204
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 93.137 | 43.632 | 42.5156 | 86.8838 | 1.1164
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 90.994 | 108.7762 | 107.8857 | 88.1328 | 0.89048
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 99.191 | 311.0703 | 290.2302 | 92.2647 | 20.8401
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 100 | 142.4775 | 130.7071 | 88.5586 | 11.7704
NTPC Kudgi Stage-I | 224 | 5.75 | 99.958 | 135.7878 | 112.8313 | 74.228 | 22.9565
NTECL Valluru | 86.45 | 5.75 | 54.909 | 31.959 | 30.7743 | 52.4577 | 1.1847
NLC Stage-I | 46.88 | 10 | 73.055 | 22.1652 | 22.1048 | 72.7653 | 0.060349
NLC Stage-II | 85.83 | 10 | 79.36 | 44.0957 | 43.9424 | 79.0077 | 0.15334
NLC TPS- I Expn. | 2.24 | 9 | 89.877 | 1.3034 | 1.2949 | 88.2301 | 0.0085059
NLC TPS- II Expn. | 2.67 | 12.5 | 32.7 | 0.54284 | 0.54153 | 32.194 | 0.0013014
NLC NNTPS | 52.71 | 5.75 | 103.392 | 36.9262 | 36.7104 | 102.6318 | 0.21578
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 80.45 | 66.5182 | 65.1956 | 78.5781 | 1.3226
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 69.405 | 0.81386 | 0.97413 | 9.361 | -0.16028 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
1000000

## May-24
Availability of Generating Stations during May-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | May
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 84.55 | 721.271 | 667.767 | 78.2781 | 53.504
Dr. NTTPS-IV | 500 | 7.5 | 83.03 | 285.7062 | 255.998 | 74.3964 | 29.7082
Dr. NTTPS-V | 800 | 5.75 | 32.86 | 184.3367 | 180.4309 | 32.1638 | 3.9058
RTPP Stage-I | 420 | 9 | 74.06 | 210.5946 | 195.8474 | 68.8738 | 14.7472
RTPP Stage-II | 420 | 9 | 98.7 | 280.6602 | 233.478 | 82.1074 | 47.1822
RTPP Stage-III | 210 | 9 | 86.03 | 122.3161 | 106.7246 | 75.0639 | 15.5915
RTPP Stage-IV | 600 | 5.75 | 73.59 | 309.6167 | 277.244 | 65.8956 | 32.3727
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2623 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.042241 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | -0.0835 | -0.22673 | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 20.3662 | 11.521 | -
Lower Sileru | 460 | 1 | 95.16 | 322.4188 | 78.6236 | 23.2053 | -
Donkarayi | 25 | 1 | 100 | 18.414 | 7.4945 | 40.7 | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.021997 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.0783 | 10.6305 | 0.65826
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 15.1344 | 34.2457 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2722 | -0.64159 | -
APPDCL Stage-I | 1600 | 6.5 | 61.16 | 680.7255 | 657.014 | 59.0296 | 23.7115
APPDCL Stage-II | 800 | 5.75 | 74.68 | 418.9369 | 398.405 | 71.02 | 20.5319
HNPCL | 1040 | 5.75 | 54.26 | 395.7013 | 380.7573 | 52.2108 | 14.944
SEIL P1 (230MW) | 230.55 | 5 | 99.1 | 169.9789 | 150.7957 | 92.5395 | 19.1832
SEIL P2 (500MW Firm) | 500 | 5 | 97.81 | 363.8532 | 348.138 | 98.511
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 97.39 | 90.5727 | 34.202 | 38.7119 | -
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 94.703 | 181.8513 | 152.8291 | 76.6486 | 29.0223
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 79.84 | 38.8511 | 33.1336 | 65.5267 | 5.7175
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 97.352 | 118.9998 | 107.8794 | 85.2848 | 11.1205
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 99.9 | 324.4441 | 270.1368 | 83.1068 | 54.3073
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 100 | 149.2358 | 118.445 | 77.6618 | 30.7908
NTPC Kudgi Stage-I | 224 | 5.75 | 95.553 | 140.756 | 100.7853 | 64.1645 | 39.9707
NTECL Valluru | 86.45 | 5.75 | 64.003 | 38.7159 | 30.7213 | 50.6782 | 7.9946
NLC Stage-I | 46.88 | 10 | 68.848 | 21.6025 | 21.3907 | 68.1432 | 0.21175
NLC Stage-II | 85.83 | 10 | 70.816 | 40.6799 | 40.1411 | 69.8448 | 0.5388
NLC TPS- I Expn. | 2.24 | 9 | 99.502 | 1.5279 | 1.4392 | 94.898 | 0.088686
NLC TPS- II Expn. | 2.67 | 12.5 | 35.919 | 0.61966 | 0.60135 | 34.5969 | 0.018304
NLC NNTPS | 52.71 | 5.75 | 102.837 | 38.0387 | 35.2978 | 95.4993 | 2.741
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 80.144 | 68.7565 | 62.1582 | 72.5005 | 6.5983
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 99.612 | 1.3411 | 1.393 | 12.9543 | -0.051881 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.