## Availab 23-24 (hidden)
Availability of Generating Stations during FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | APRIL |  | May |  | June
|  |  | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU
Dr. NTTPS | 1260 | 9 | 87.29 | 720.6243 | 87.49 | 746.3513
Dr. NTTPS-IV | 500 | 7.5 | 88.22 | 293.7726 | 81.14 | 279.2027
RTPP Stage-I | 420 | 9 | 72.34 | 199.0681 | 75.63 | 215.059
RTPP Stage-II | 420 | 9 | 98.03 | 269.7629 | 94.19 | 267.8357
RTPP Stage-III | 210 | 9 | 82.15 | 113.0318 | 80.3 | 114.1693
RTPP Stage-IV | 600 | 5.75 | 68.27 | 277.9681 | 77.4 | 325.6466
Srisailam RCPH | 770 | 1 | 100 | 548.856
NSRCPH | 90 | 1 | 100 | 64.152
NSTPDC PH | 50 | 1 | 100 | 35.64
Upper Sileru | 240 | 1 | 100 | 171.072
Lower Sileru | 460 | 1 | 100 | 327.888
Donkarayi | 25 | 1 | 100 | 17.82
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH
Minihydel(Chettipet)* | 1 | 1 | 100 | 0.7128
Machkund AP Share* | 60 | 1 | TO BE TAKEN SAME AS DESPATCH
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH
APPDCL Stage-I | 1600 | 6.5 | 56.7 | 610.727 | 64.5 | 717.9005
APPDCL Stage-II | 800 | 5.75 | 68.09 | 369.647 | 66.43 | 372.6564
HNPCL | 1040 | 5.75 | 56.75 | 400.5097 | 72.63 | 529.6679
SEMBCORP-P1 | 230.55 | - | 96.25 | 159.7686
SEMBCORP-P2 | 625 | - | TO BE TAKEN SAME AS DESPATCH

## Apr-24
Availability of Generating Stations during April-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | April
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 81.38 | 671.8342 | 624.0363 | 75.5902 | 47.7979
Dr. NTTPS-IV | 500 | 7.5 | 82.85 | 275.8905 | 267.3935 | 80.2983 | 8.497
Dr. NTTPS-V | 800 | 5.75 | 54.84 | 297.7154 | 290.6329 | 53.5354 | 7.0825
RTPP Stage-I | 420 | 9 | 73.79 | 203.0583 | 193.5079 | 70.3195 | 9.5504
RTPP Stage-II | 420 | 9 | 96.43 | 265.3599 | 245.1731 | 89.0942 | 20.1868
RTPP Stage-III | 210 | 9 | 91.72 | 126.1994 | 117.3433 | 85.2835 | 8.8561
RTPP Stage-IV | 600 | 5.75 | 72.13 | 293.6845 | 277.454 | 68.1437 | 16.2305
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.263 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.036591 | - | -
NSTPDC PH | 50 | 1 | 100 | 35.64 | 0.4533 | 1.2719 | -
Upper Sileru | 240 | 1 | 100 | 171.072 | 49.9879 | 29.2204 | -
Lower Sileru | 460 | 1 | 99.17 | 325.1665 | 97.597 | 29.7654 | -
Donkarayi | 25 | 1 | 100 | 17.82 | 9.7151 | 54.5179 | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.025748 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.17685 | 24.8106 | 0.53595
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 12.948 | 30.275 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 0.8018 | 1.9529 | -
APPDCL Stage-I | 1600 | 6.5 | 55.67 | 599.6327 | 586.962 | 54.4936 | 12.6707
APPDCL Stage-II | 800 | 5.75 | 63.08 | 342.4487 | 336.3785 | 61.9619 | 6.0702
HNPCL | 1040 | 5.75 | 71.45 | 504.2541 | 488.4231 | 69.2068 | 15.831
SEIL P1 (230MW) | 230.55 | 5 | 95.783 | 158.9959 | 157.1601 | 94.677 | 1.8358
SEIL P2 (500MW Firm) | 500 | 5 | 72.2639 | 260.15 | 260.0877 | 72.2466
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 93.2644 | 83.938 | 47.0062 | 52.2291 | -
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 96.923 | 178.9071 | 174.4867 | 90.4276 | 4.4204
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 93.137 | 43.632 | 42.5156 | 86.8838 | 1.1164
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 90.994 | 108.7762 | 107.8857 | 88.1328 | 0.89048
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 99.191 | 311.0703 | 290.2302 | 92.2647 | 20.8401
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 100 | 142.4775 | 130.7071 | 88.5586 | 11.7704
NTPC Kudgi Stage-I | 224 | 5.75 | 99.958 | 135.7878 | 112.8313 | 74.228 | 22.9565
NTECL Valluru | 86.45 | 5.75 | 54.909 | 31.959 | 30.7743 | 52.4577 | 1.1847
NLC Stage-I | 46.88 | 10 | 73.055 | 22.1652 | 22.1048 | 72.7653 | 0.060349
NLC Stage-II | 85.83 | 10 | 79.36 | 44.0957 | 43.9424 | 79.0077 | 0.15334
NLC TPS- I Expn. | 2.24 | 9 | 89.877 | 1.3034 | 1.2949 | 88.2301 | 0.0085059
NLC TPS- II Expn. | 2.67 | 12.5 | 32.7 | 0.54284 | 0.54153 | 32.194 | 0.0013014
NLC NNTPS | 52.71 | 5.75 | 103.392 | 36.9262 | 36.7104 | 102.6318 | 0.21578
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 80.45 | 66.5182 | 65.1956 | 78.5781 | 1.3226
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 69.405 | 0.81386 | 0.97413 | 9.361 | -0.16028 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
1000000

## May-24
Availability of Generating Stations during May-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | May
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 84.55 | 721.271 | 667.767 | 78.2781 | 53.504
Dr. NTTPS-IV | 500 | 7.5 | 83.03 | 285.7062 | 255.998 | 74.3964 | 29.7082
Dr. NTTPS-V | 800 | 5.75 | 32.86 | 184.3367 | 180.4309 | 32.1638 | 3.9058
RTPP Stage-I | 420 | 9 | 74.06 | 210.5946 | 195.8474 | 68.8738 | 14.7472
RTPP Stage-II | 420 | 9 | 98.7 | 280.6602 | 233.478 | 82.1074 | 47.1822
RTPP Stage-III | 210 | 9 | 86.03 | 122.3161 | 106.7246 | 75.0639 | 15.5915
RTPP Stage-IV | 600 | 5.75 | 73.59 | 309.6167 | 277.244 | 65.8956 | 32.3727
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2623 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.042241 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | -0.0835 | -0.22673 | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 20.3662 | 11.521 | -
Lower Sileru | 460 | 1 | 95.16 | 322.4188 | 78.6236 | 23.2053 | -
Donkarayi | 25 | 1 | 100 | 18.414 | 7.4945 | 40.7 | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.021997 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.0783 | 10.6305 | 0.65826
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 15.1344 | 34.2457 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2722 | -0.64159 | -
APPDCL Stage-I | 1600 | 6.5 | 61.16 | 680.7255 | 657.014 | 59.0296 | 23.7115
APPDCL Stage-II | 800 | 5.75 | 74.68 | 418.9369 | 398.405 | 71.02 | 20.5319
HNPCL | 1040 | 5.75 | 54.26 | 395.7013 | 380.7573 | 52.2108 | 14.944
SEIL P1 (230MW) | 230.55 | 5 | 99.1 | 169.9789 | 150.7957 | 92.5395 | 19.1832
SEIL P2 (500MW Firm) | 500 | 5 | 97.81 | 363.8532 | 348.138 | 98.511
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 97.39 | 90.5727 | 34.202 | 38.7119 | -
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 94.703 | 181.8513 | 152.8291 | 76.6486 | 29.0223
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 79.84 | 38.8511 | 33.1336 | 65.5267 | 5.7175
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 97.352 | 118.9998 | 107.8794 | 85.2848 | 11.1205
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 99.9 | 324.4441 | 270.1368 | 83.1068 | 54.3073
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 100 | 149.2358 | 118.445 | 77.6618 | 30.7908
NTPC Kudgi Stage-I | 224 | 5.75 | 95.553 | 140.756 | 100.7853 | 64.1645 | 39.9707
NTECL Valluru | 86.45 | 5.75 | 64.003 | 38.7159 | 30.7213 | 50.6782 | 7.9946
NLC Stage-I | 46.88 | 10 | 68.848 | 21.6025 | 21.3907 | 68.1432 | 0.21175
NLC Stage-II | 85.83 | 10 | 70.816 | 40.6799 | 40.1411 | 69.8448 | 0.5388
NLC TPS- I Expn. | 2.24 | 9 | 99.502 | 1.5279 | 1.4392 | 94.898 | 0.088686
NLC TPS- II Expn. | 2.67 | 12.5 | 35.919 | 0.61966 | 0.60135 | 34.5969 | 0.018304
NLC NNTPS | 52.71 | 5.75 | 102.837 | 38.0387 | 35.2978 | 95.4993 | 2.741
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 80.144 | 68.7565 | 62.1582 | 72.5005 | 6.5983
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 99.612 | 1.3411 | 1.393 | 12.9543 | -0.051881 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.

## Jun-24
Availability of Generating Stations during June-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | June
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 81.17 | 670.1006 | 602.2276 | 72.9485 | 67.873
Dr. NTTPS-IV | 500 | 7.5 | 83.89 | 279.3537 | 231.7385 | 69.5911 | 47.6152
Dr. NTTPS-V | 800 | 5.75 | 59.05 | 320.5706 | 319.186 | 58.795 | 1.3846
RTPP Stage-I | 420 | 9 | 47.84 | 131.648 | 120.9605 | 43.9562 | 10.6875
RTPP Stage-II | 420 | 9 | 96.29 | 264.9747 | 208.1718 | 75.6482 | 56.8029
RTPP Stage-III | 210 | 9 | 82.89 | 114.05 | 102.4913 | 74.4893 | 11.5587
RTPP Stage-IV | 600 | 5.75 | 67.83 | 276.1766 | 236.484 | 58.0813 | 39.6926
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2386 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.039855 | - | -
NSTPDC PH | 50 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.0757 | -0.2124 | -
Upper Sileru | 240 | 1 | 100 | 171.072 | 28.762 | 16.8128 | 142.31
Lower Sileru | 460 | 1 | 99.17 | 325.1665 | 55.8293 | 17.0269 | 269.3372
Donkarayi | 25 | 1 | 90.48 | 16.1235 | 5.7356 | 32.1863 | 10.3879
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.021955 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.2536 | 35.578 | 0.4592
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 16.0518 | 37.5323 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2442 | -0.59478 | -
APPDCL Stage-I | 1600 | 6.5 | 59.39 | 639.7016 | 606.114 | 56.2717 | 33.5876
APPDCL Stage-II | 800 | 5.75 | 70.62 | 383.3819 | 376.6015 | 69.371 | 6.7804
HNPCL | 1040 | 5.75 | 29.9 | 211.0175 | 164.8002 | 23.3513 | 46.2173
SEIL P1 (230MW) | 230.55 | 5 | 96.0217 | 159.3922 | 130.5134 | 78.6244 | 28.8787
SEIL P2 (500MW Firm) | 500 | 5 | 96 | 345.6 | 322.5507 | 89.5974 | 23.0493
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 100 | 90 | 27.5193 | 30.577 | 62.4807
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 98.894 | 180.0754 | 136.6937 | 70.8414 | 43.3818
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 99.049 | 45.9009 | 35.0266 | 71.5795 | 10.8743
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 90.985 | 108.3456 | 80.7002 | 65.9247 | 27.6455
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 100 | 314.2213 | 255.1178 | 81.1024 | 59.1035
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 71.205 | 102.7578 | 80.5563 | 54.5796 | 22.2015
NTPC Kudgi Stage-I | 224 | 5.75 | 100 | 139.493 | 82.18 | 54.0635 | 57.313
NTECL Valluru | 86.45 | 5.75 | 76.642 | 44.4445 | 33.8697 | 57.7342 | 10.5748
NLC Stage-I | 46.88 | 10 | 50.068 | 15.0989 | 14.9664 | 49.2668 | 0.13247
NLC Stage-II | 85.83 | 10 | 50.305 | 27.8201 | 27.4736 | 49.397 | 0.34657
NLC TPS- I Expn. | 2.24 | 9 | 100.056 | 1.2363 | 1.1279 | 76.8498 | 0.10838
NLC TPS- II Expn. | 2.67 | 12.5 | 42.849 | 0.60334 | 0.60775 | 36.1303 | -0.0044127 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
NLC NNTPS | 52.71 | 5.75 | 81.316 | 29.0197 | 26.2337 | 73.3419 | 2.7861
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 79.416 | 65.0239 | 48.0211 | 57.8783 | 17.0028
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 91.813 | 0.90715 | 0.88829 | 8.5361 | 0.018857
1000000

## July-24
Availability of Generating Stations during July-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | July
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 61.79 | 527.1122 | 497.129 | 58.2753 | 29.9832
Dr. NTTPS-IV | 500 | 7.5 | 76.04 | 261.6536 | 212.3005 | 61.6973 | 49.3531
Dr. NTTPS-V | 800 | 5.75 | 42.59 | 238.9197 | 236.5027 | 42.1592 | 2.4169
RTPP Stage-I | 420 | 9 | 46.62 | 132.5671 | 90.9348 | 31.9791 | 41.6323
RTPP Stage-II | 420 | 9 | 79.02 | 224.6987 | 174.9496 | 61.5247 | 49.7491
RTPP Stage-III | 210 | 9 | 77.15 | 109.6906 | 97.8783 | 68.8419 | 11.8123
RTPP Stage-IV | 600 | 5.75 | 62.41 | 262.5788 | 227.168 | 53.9935 | 35.4108
Srisailam RCPH | 770 | 1 | 92.21 | 522.9701 | 83.5071 | 14.724 | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.033454 | - | -
NSTPDC PH | 50 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.0682 | - | -
Upper Sileru | 240 | 1 | 79.57 | 140.6594 | 29.6109 | 16.7507 | 111.0485
Lower Sileru | 460 | 1 | 94.35 | 319.6744 | 97.2644 | 28.707 | 222.41
Donkarayi | 25 | 1 | 100 | 18.414 | 7.3064 | 39.6783 | 11.1076
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.023227 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.19195 | 26.0603 | 0.54461
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 17.9922 | 40.7122 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 9.5515 | 22.5134 | -
APPDCL Stage-I | 1600 | 6.5 | 60.89 | 677.7203 | 642.675 | 57.7413 | 35.0453
APPDCL Stage-II | 800 | 5.75 | 0 | 0 | -3.7035 | - | 3.7035
HNPCL | 1040 | 5.75 | 44.93 | 327.6605 | 275.0571 | 37.7168 | 52.6034
SEIL P1 (230MW) | 230.55 | 5 | 100 | 171.5292 | 150.7099 | 87.8625 | 20.8193
SEIL P2 (500MW Firm) | 500 | 5 | 78.9 | 293.508 | 279.5322 | 75.1431 | 13.9758
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 0 | 0 | 0 | 0 | 0
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 85.047 | 160.036 | 104.7206 | 52.5207 | 55.3154
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 100.011 | 47.9056 | 33.7019 | 66.6507 | 14.2037
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 71.548 | 87.3776 | 83.8419 | 66.2818 | 3.5357
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 100 | 324.1596 | 249.7929 | 76.848 | 74.3667
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 38 | 56.8409 | 39.6314 | 25.9855 | 17.2095
NTPC Kudgi Stage-I | 224 | 5.75 | 63.181 | 91.0815 | 42.4872 | 27.0493 | 48.5942
NTECL Valluru | 86.45 | 5.75 | 96.846 | 57.7374 | 39.187 | 64.6433 | 18.5503
NLC Stage-I | 46.88 | 10 | 58.101 | 18.022 | 17.5517 | 55.9134 | 0.47035
NLC Stage-II | 85.83 | 10 | 45.954 | 26.1912 | 25.5356 | 44.4315 | 0.65566
NLC TPS- I Expn. | 2.24 | 9 | 97.941 | 1.1057 | 1.0153 | 66.9491 | 0.090324
NLC TPS- II Expn. | 2.67 | 12.5 | 35.19 | 0.45703 | 0.45253 | 26.035 | 0.0044964 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
NLC NNTPS | 52.71 | 5.75 | 51.981 | 19.1691 | 17.852 | 48.2992 | 1.3171
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 92.632 | 78.3012 | 55.8599 | 65.1543 | 22.4413
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 83.015 | 0.75442 | 0.42448 | 3.9474 | 0.32995
1000000

## Aug-24
Availability of Generating Stations during August-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | July
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 59.94 | 511.3304 | 471.746 | 55.2998 | 39.5844
Dr. NTTPS-IV | 500 | 7.5 | 67.62 | 232.6804 | 201.4845 | 58.5541 | 31.1959
Dr. NTTPS-V | 800 | 5.75 | 11.27 | 63.222 | 63.7786 | 11.3692 | -
RTPP Stage-I | 420 | 9 | 62.04 | 176.415 | 161.6709 | 56.8549 | 14.7441
RTPP Stage-II | 420 | 9 | 61.86 | 175.9031 | 115.4563 | 40.6026 | 60.4468
RTPP Stage-III | 210 | 9 | 74.03 | 105.2547 | 105.1187 | 73.9344 | 0.13597
RTPP Stage-IV | 600 | 5.75 | 55.04 | 231.5709 | 212.497 | 50.5065 | 19.0739
Srisailam RCPH | 770 | 1 | 95.98 | 544.3517 | 378.4273 | 66.7242 | -
NSRCPH | 90 | 1 | 100 | 66.2904 | 35.4634 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | 20.633 | - | -
Upper Sileru | 240 | 1 | 80.65 | 142.5686 | 44.1811 | 24.9929 | 98.3874
Lower Sileru | 460 | 1 | 100 | 338.8176 | 111.0766 | 32.7836 | 227.741
Donkarayi | 25 | 1 | 100 | 18.414 | 13.8642 | 75.2919 | 4.5498
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.028759 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.08716 | 11.8334 | 0.6494
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 21.1368 | 47.8277 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 26.4711 | 62.3938 | -
APPDCL Stage-I | 1600 | 6.5 | 46.42 | 516.6657 | 490.706 | 44.0876 | 25.9597
APPDCL Stage-II | 800 | 5.75 | 80.78 | 453.1564 | 428.273 | - | 24.8834
HNPCL | 1040 | 5.75 | 32.6 | 237.7416 | 233.1238 | 31.9668 | 4.6178
SEIL P1 (230MW) | 230.55 | 5 | 99.96 | 171.4606 | 159.4492 | 92.9575 | 12.0114
SEIL P2 (500MW Firm) | 500 | 5 | 94.31 | 350.8332 | 336.5691 | 90.4756 | 14.2641
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 94.89 | 88.2477 | 39.6009 | 42.5816 | 48.6468
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 76.866 | 145.7174 | 108.0165 | 54.1737 | 37.7009
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 100.001 | 48.2269 | 38.7178 | 76.5705 | 9.509
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 90.677 | 111.4128 | 107.3098 | 84.8346 | 4.103
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 98.387 | 319.5482 | 279.1743 | 85.8871 | 40.3739
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 85.391 | 128.2526 | 109.0727 | 71.5166 | 19.1799
NTPC Kudgi Stage-I | 224 | 5.75 | 78.934 | 115.3319 | 63.5436 | 40.4547 | 51.7883
NTECL Valluru | 86.45 | 5.75 | 94.169 | 56.2702 | 44.7221 | 73.7739 | 11.5481
NLC Stage-I | 46.88 | 10 | 39.993 | 12.4238 | 12.2248 | 38.9438 | 0.19898
NLC Stage-II | 85.83 | 10 | 61.225 | 34.8811 | 34.177 | 59.4674 | 0.70413
NLC TPS- I Expn. | 2.24 | 9 | 100 | 1.1346 | 1.0861 | 71.6151 | 0.048491
NLC TPS- II Expn. | 2.67 | 12.5 | 15.185 | 0.19277 | 0.18902 | 10.8749 | 0.003741
NLC NNTPS | 52.71 | 5.75 | 56.022 | 20.675 | 19.7683 | 53.4837 | 0.90676
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 99.773 | 84.5625 | 63.3941 | 73.9421 | 21.1684
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 99.46 | 0.88156 | 1.1273 | 10.483 | -0.2457 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
1000000

## Sep-24
Availability of Generating Stations during September-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 59.6 | 492.029 | 457.702 | 55.4419 | 34.327
Dr. NTTPS-IV | 500 | 7.5 | 0 | 0 | -2.28 | - | 2.28
Dr. NTTPS-V | 800 | 5.75 | 0 | 0 | -2.3902 | - | -
RTPP Stage-I | 420 | 9 | 74.61 | 205.3148 | 152.6006 | 55.454 | 52.7142
RTPP Stage-II | 420 | 9 | 90.31 | 248.5187 | 200.3757 | 72.8152 | 48.143
RTPP Stage-III | 210 | 9 | 77.28 | 106.3311 | 105.7429 | 76.8525 | 0.5882
RTPP Stage-IV | 600 | 5.75 | 60.19 | 245.0696 | 220.489 | 54.1529 | 24.5806
Srisailam RCPH | 770 | 1 | 100 | 548.856 | 306.7777 | 55.894 | -
NSRCPH | 90 | 1 | 100 | 64.152 | 35.8182 | 55.8333 | -
NSTPDC PH | 50 | 1 | 100 | 35.64 | 22.3601 | 62.7388 | -
Upper Sileru | 240 | 1 | 80 | 136.8576 | 57.0266 | 33.3349 | 79.831
Lower Sileru | 460 | 1 | 99.17 | 325.1665 | 107.089 | 32.6602 | 218.0775
Donkarayi | 25 | 1 | 100 | 17.82 | 12.7568 | 71.5869 | 5.0632
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.020073 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.03456 | 4.8485 | 0.67824
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 17.691 | 41.365 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 26.8596 | 65.4198 | -
APPDCL Stage-I | 1600 | 6.5 | 58.81 | 633.4543 | 585.726 | 54.3789 | 47.7283
APPDCL Stage-II | 800 | 5.75 | 55.27 | 300.0498 | 280.0385 | 51.5839 | 20.0113
HNPCL | 1040 | 5.75 | 38.94 | 274.8167 | 269.8878 | 38.2416 | 4.9289
SEIL P1 (230MW) | 230.55 | 5 | 100 | 165.996 | 149.6844 | 90.1735 | 16.3116
SEIL P2 (500MW Firm) | 500 | 5 | 100 | 360 | 342.6848 | 95.1902 | 17.3152
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 100 | 90 | 36.0352 | 40.0392 | 53.9648
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 86.564 | 158.32 | 100.4032 | 52.0339 | 57.9168
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 99.892 | 46.5695 | 31.3151 | 63.9947 | 15.2544
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 89.606 | 107.7494 | 94.2826 | 77.0203 | 13.4668
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 90.997 | 283.0862 | 217.4018 | 69.1124 | 65.6845
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 95.026 | 136.4504 | 107.2243 | 72.6482 | 29.2262
NTPC Kudgi Stage-I | 224 | 5.75 | 87.238 | 122.6997 | 52.6594 | 34.6429 | 70.0403
NTECL Valluru | 86.45 | 5.75 | 84.768 | 49.036 | 32.1932 | 54.8763 | 16.8428
NLC Stage-I | 46.88 | 10 | 61.28 | 18.4425 | 17.2558 | 56.8032 | 1.1867
NLC Stage-II | 85.83 | 10 | 43.743 | 24.1673 | 22.5009 | 40.4563 | 1.6664
NLC TPS- I Expn. | 2.24 | 9 | 88.587 | 1.0336 | 0.96122 | 65.4936 | 0.072401
NLC TPS- II Expn. | 2.67 | 12.5 | 23.291 | 0.31254 | 0.29944 | 17.8016 | 0.013102
NLC NNTPS | 52.71 | 5.75 | 87.946 | 31.4216 | 28.6391 | 80.0669 | 2.7825
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 94.267 | 77.2415 | 46.727 | 56.3186 | 30.5144
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 94.702 | 0.8749 | 0.68104 | 6.5445 | 0.19386
1000000