## D5_SAIDI-SAIFI
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: ANDHRA PRADESH
Name of Discom: APSPDCL
Number of Towns: 46
Total nos. of Feeders: 1027
Period: 1 Month (1st June 19 to 30th June'19)
Sl No | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec)
1 | ADONI | 11KV Town | 4217 | 1 | 2212
2 | ADONI | 11KV Industrial | 3661 | 2 | 2155
3 | ADONI | 11KV Rayalaseema | 3820 | 2 | 3597
4 | ADONI | 11KV T.B.P | 5599 | 2 | 4822
5 | ADONI | 11KV K.M.P | 7630 | 3 | 4023
6 | ADONI | 11KV Arts college | 6735 | 2 | 4979
7 | ADONI | 11KV Pump House | 4299 | 4 | 7034
8 | ADONI | 11KV Industrial &temple | 4410 | 4 | 13374
9 | ADONI | 11KV Shakthi Gudi | 8589 | 2 | 7983
10 | ADONI | 11KV Arekal | 4367 | 3 | 9791
11 | ADONI | Rayanagar | 1925 | 4 | 12394
12 | ADONI | Bypassroad | 1208 | 3 | 10819
13 | ADONI | Water works | 1068 | 2 | 4800
14 | ADONI | Hospital | 5352 | 5 | 5125
15 | ADONI | SBI | 4283 | 3 | 3376
16 | ADONI | 11KV Basapuram | 2536 | 0 | 0
17 | ADONI | 11KV Industrial | 1235 | 0 | 0
18 | ADONI | 11KV Textile 2 | 2750 | 5 | 6733
19 | ADONI | 11KV Textile 1 | 3728 | 3 | 3268
20 | ANANTAPUR | 11KV Estate | 1018 | 0 | 0
21 | ANANTAPUR | 11KV Aravindanagar | 11543 | 1 | 2696
22 | ANANTAPUR | 11KV Sai Nagar | 3985 | 0 | 0
23 | ANANTAPUR | 11KV Vinayanagar | 6976 | 5 | 10235
24 | ANANTAPUR | 11KV Ashok Nagar | 4776 | 1 | 1829
25 | ANANTAPUR | 11KV RTC | 4714 | 0 | 0
26 | ANANTAPUR | 11KV Vidyuth Nagar | 6652 | 0 | 0
27 | ANANTAPUR | 11KV Hospital | 3887 | 0 | 0
28 | ANANTAPUR | 11KV JNTU | 2894 | 1 | 1493
29 | ANANTAPUR | 11KV Somaladoddi | 5824 | 5 | 13251
30 | ANANTAPUR | 11KV LRG | 6671 | 1 | 1057
31 | ANANTAPUR | 11KV GandhiBazar | 6499 | 3 | 8871
32 | ANANTAPUR | 11KV Sreenivasanagar | 4341 | 1 | 2129
33 | ANANTAPUR | 11KV SS Tank | 6911 | 4 | 10081
34 | ANANTAPUR | 11KV Ayyappa | 5395 | 3 | 5594
35 | ANANTAPUR | 11KV Sri Nagar Colony | 5505 | 0 | 0
36 | ANANTAPUR | 11KV Rudrampeta | 6022 | 5 | 10005
37 | ANANTAPUR | 11KV H.L.C Colony | 2829 | 0 | 0
38 | ANANTAPUR | 11KV Tapovanam | 9393 | 0 | 0
39 | ANANTAPUR | 11KV BELLARY ROAD | 9899 | 5 | 16236
40 | ANANTAPUR | 11KV Venugopalnagar | 5864 | 4 | 9475
41 | ANANTAPUR | 11KV Collectorate | 6665 | 2 | 5725
42 | ANANTAPUR | 11KV Subash Road | 1650 | 0 | 0
43 | ANANTAPUR | 11KV Ist Road | 3058 | 2 | 4045
44 | ANANTAPUR | 11KV KLdg road | 18503 | 0 | 0
45 | ANANTAPUR | 11KV AIR | 1687 | 0 | 0
46 | ANANTAPUR | 11KV Raju Road | 5600 | 0 | 0
47 | ANANTAPUR | 11KV Kamalanagar | 3600 | 5 | 9456
48 | ANANTAPUR | 11KV Ganga Nagar | 3163 | 3 | 5230
49 | ANANTAPUR | 11KV TV | 4002 | 0 | 0
50 | ANANTAPUR | 11KV Ramnagar | 3807 | 0 | 0
51 | ANANTAPUR | 11KV Court Road | 6936 | 2 | 2179
52 | ANANTAPUR | 11KV Sangameshnagar | 2985 | 0 | 0
53 | ANANTAPUR | 11KV R.C.Nagar | 4502 | 0 | 0
54 | BAPATLA | 11KV Bapatla Town-2(Patel Nagar) | 4057 | 6 | 9252
55 | BAPATLA | 11KV Islampet | 3937 | 3 | 5222
56 | BAPATLA | 11KV Agraharam | 2538 | 6 | 6531
57 | BAPATLA | 11KV Water Works | 1886 | 2 | 2526
58 | BAPATLA | 11KV Ramakrishnapuram | 4747 | 3 | 5159
59 | BAPATLA | 11KV Shanti Nagar | 2573 | 3 | 6364
60 | BAPATLA | 11KV Radham Bazar | 2507 | 2 | 5904
61 | BAPATLA | 11KV Vijaya lakshmipuram | 3997 | 7 | 11768
62 | BAPATLA | 11KV Bapatla industrial | 2252 | 0 | 0
63 | BAPATLA | 11KV Ramakrishna Puram | 2876 | 2 | 6154
64 | BAPATLA | 11KV Brindavanam | 4236 | 2 | 5011
65 | BAPATLA | 11KV Railpet | 1346 | 5 | 6333
66 | BAPATLA | 11KV Arts College | 2536 | 4 | 9599
67 | BETHAMCHERLA | 11KV BUGGANIPALLI | 862 | 4 | 5387
68 | BETHAMCHERLA | 11KV S.R.NAGAR | 2209 | 0 | 0
69 | BETHAMCHERLA | 11KV B. CHERLA TOWN. I | 239 | 3 | 5541
70 | BETHAMCHERLA | 11KV GORLAGUTTA | 985 | 1 | 1879
71 | BETHAMCHERLA | 11KV MAIN ROAD | 9798 | 5 | 6880
72 | BETHAMCHERLA | 11KV INDUSTRIAL(I.CHERUVU) | 1902 | 8 | 19728
73 | BETHAMCHERLA | 11KV B. CHERLA TOWN. II | 239 | 5 | 8159
74 | CHILAKALURIPET | 11KV Chilakaluripet C | 3891 | 6 | 13884
75 | CHILAKALURIPET | 11KV Chilakaluripet B | 1915 | 1 | 1709
76 | CHILAKALURIPET | 11KV KB road | 1305 | 0 | 0
77 | CHILAKALURIPET | 11 Chilakaluripet A1 | 5553 | 1 | 1710
78 | CHILAKALURIPET | 11KV Polireddy Palem | 4769 | 3 | 5935
79 | CHILAKALURIPET | 11KV Highway | 1776 | 3 | 4556
80 | CHILAKALURIPET | 11KV Maddinagar | 5104 | 2 | 2991
81 | CHILAKALURIPET | 11KV Police Station | 4866 | 4 | 6607
82 | CHILAKALURIPET | 11KV C.R.Colony | 4065 | 0 | 0
83 | CHILAKALURIPET | 11KV Purushotthapatnam | 3163 | 0 | 0
84 | CHILAKALURIPET | 11KV Pandaripuram | 1993 | 1 | 761
85 | CHILAKALURIPET | 11KV Chilakaluripet A2 | 1373 | 0 | 0
86 | CHIRALA | 11KV BOSENAGAR | 1692 | 1 | 1356
87 | CHIRALA | 11KV MARKET | 2349 | 3 | 5188
88 | CHIRALA | 11KV LOCAL1 | 2657 | 5 | 11392
89 | CHIRALA | 11KV RAILWAYSTATION | 3537 | 3 | 6036
90 | CHIRALA | 11KV VYKUNTAPURAM | 1082 | 1 | 3094
91 | CHIRALA | 11KV LOCAL2 | 5505 | 0 | 0
92 | CHIRALA | 11KV VITALNAGAR | 4745 | 4 | 4951
93 | CHIRALA | 11KV DANDUBATA | 3165 | 2 | 1660
94 | CHIRALA | 11KV JAYANTIPETA | 6542 | 3 | 4212
95 | CHIRALA | 11KV GANJIPALEM | 5190 | 2 | 3261
96 | CHIRALA | 11KV WOODNAGAR | 433 | 1 | 1146
97 | CHITTOOR | 11KV Thana | 650 | 0 | 0
98 | CHITTOOR | 11KV C.K.Palle | 564 | 2 | 1826
99 | CHITTOOR | 11KV High road | 3284 | 1 | 1538
100 | CHITTOOR | 11KV Collector | 1139 | 2 | 2092
101 | CHITTOOR | 11KV Industrial estate | 143 | 1 | 1273
102 | CHITTOOR | 11KV M.S.R | 1070 | 1 | 626
103 | CHITTOOR | 11KV Sai Baba temple | 1749 | 0 | 0
104 | CHITTOOR | 11KV Kattamanchi | 1893 | 0 | 0
105 | CHITTOOR | 11KV Municipal office | 908 | 0 | 0
106 | CHITTOOR | 11KV Nutrine | 1729 | 1 | 2657
107 | CHITTOOR | 11KV SP Bungalaw | 8310 | 0 | 0
108 | CHITTOOR | 11KV Gollingspet | 3258 | 0 | 0
109 | CHITTOOR | 11KV Muragani Palle | 9027 | 1 | 1431
110 | CHITTOOR | 11KV Collector | 30 | 2 | 4673
111 | CHITTOOR | 11KV DI Road | 5465 | 0 | 0
112 | CHITTOOR | 11KV Ramnagar colony | 5787 | 2 | 1389
113 | CHITTOOR | 11KV Greamspet | 2607 | 0 | 0
114 | CHITTOOR | 11KV Iruvaram | 62 | 0 | 0
115 | CHITTOOR | 11KV Market | 4480 | 2 | 6425
116 | CHITTOOR | 11KV Court | 2305 | 1 | 1570
117 | CHITTOOR | 11KV Exchange | 8 | 1 | 1560
118 | CHITTOOR | 11KV Balaji colony | 12718 | 1 | 268
119 | CHITTOOR | 11KV mittoor | 3574 | 0 | 0
120 | CHITTOOR | 11KV Kameswara Nagar | 1045 | 1 | 760
121 | CHITTOOR | 11KV Santhapet Rural | 5353 | 0 | 0
122 | CHITTOOR | 11KV Z.P | 19986 | 1 | 1677
123 | CHITTOOR | 11KV Dairy | 3554 | 0 | 0
124 | CHITTOOR | 11KV Industrial estate | 3579 | 1 | 1002
125 | CHITTOOR | 11KV Durganagar colony | 3888 | 0 | 0
126 | DHARMAVARAM | 11KV Town DMM | 6606 | 0 | 0
127 | DHARMAVARAM | 11KV Water Works DMM | 6351 | 2 | 4291
128 | DHARMAVARAM | 11KV Shirdi sai | 10209 | 9 | 32274
129 | DHARMAVARAM | 11KV Siva Nagar | 7332 | 7 | 31009
130 | DHARMAVARAM | 11KV Santhinagar (Gotlur) | 4667 | 3 | 6811
131 | DHARMAVARAM | 11KV C.K. Puram | 13625 | 4 | 6650
132 | DHARMAVARAM | 11KV Durganagar | 6840 | 3 | 5629
133 | DHARMAVARAM | 11KV Yadava street | 11264 | 0 | 0
134 | GOOTY | 11KV Gooty RS | 6049 | 4 | 7652
135 | GOOTY | 11 KV Industrial feeder | 5711 | 2 | 5930
136 | GOOTY | 11KV Railway Express | 3661 | 0 | 0
137 | GOOTY | 11KV GOOTY TOWN | 12806 | 4 | 13693
138 | GUDIVADA | 11KV Town-IV | 2370 | 1 | 2809
139 | GUDIVADA | 11KV Town-III | 5229 | 1 | 2160
140 | GUDIVADA | 11KV Town-V | 5778 | 0 | 0
141 | GUDIVADA | 11KV Bethavolu | 5436 | 1 | 1655
142 | GUDIVADA | 11KV Nandivada (HT) | 3688 | 1 | 1955
143 | GUDIVADA | 11KV Autonagar | 2872 | 1 | 2446
144 | GUDIVADA | 11KV Town-I | 3984 | 1 | 1958
145 | GUDIVADA | 11KV Water Works | 7480 | 1 | 2466
146 | GUDIVADA | 11KV Industrial | 6620 | 1 | 1996
147 | GUDIVADA | 11KV Town-II | 3909 | 0 | 0
148 | GUDUR | 11KV Muncipal office | 5131 | 1 | 1426
149 | GUDUR | 11KV B.S.Peta | 6349 | 2 | 1533
150 | GUDUR | 11KV Commercial | 2207 | 1 | 1428
151 | GUDUR | 11KV Gudur Town II | 4408 | 1 | 1143
152 | GUDUR | 11 KV Society | 2221 | 3 | 9120
153 | GUDUR | 11KV M.V. Nagar | 3613 | 3 | 3388
154 | GUDUR | 11KV Industrial | 492 | 1 | 2343
155 | GUDUR | 11 KV Indira Nagar | 6086 | 4 | 4713
156 | GUDUR | 11KV Gandhi Nagar | 8238 | 3 | 3220
157 | GUNTAKAL | 11KV Railway | 128 | 0 | 0
158 | GUNTAKAL | 11KV New SN Peta | 8606 | 7 | 17581
159 | GUNTAKAL | 11KV Konakondla | 3140 | 0 | 0
160 | GUNTAKAL | 11KV Guntakal -I(Hanumesh nagar) | 4744 | 0 | 0
161 | GUNTAKAL | 11KV Guntakal - II (Bhagyanagar) | 5951 | 8 | 11228
162 | GUNTAKAL | 11KV Mandi Bazar | 6023 | 6 | 13251
163 | GUNTAKAL | 11KV RajendraNagar | 6168 | 3 | 16713
164 | GUNTAKAL | 11KV Mill Colony | 5535 | 7 | 24740
165 | GUNTAKAL | 11KV Mohinabad | 5930 | 6 | 10462
166 | GUNTAKAL | 11KV Guntakal - III (Thilaknagar) | 3285 | 5 | 17082
167 | GUNTAKAL | 11KV Industrial Estate(IDA)(GTKL) | 1838 | 12 | 28162
168 | GUNTUR | 11KV APHB Colony | 5432 | 3 | 4589
169 | GUNTUR | 11KV A.T.Agraharam | 4010 | 1 | 2801
170 | GUNTUR | 11KV Y Junction | 2704 | 4 | 6814
171 | GUNTUR | 11KV Donkaroad | 5249 | 3 | 9366
172 | GUNTUR | Joy Alukas (Local 24th) | 2232 | 2 | 4659
173 | GUNTUR | 11KV Krishna nagar | 2543 | 3 | 6553
174 | GUNTUR | 11KV Ravindra Nagar | 987 | 1 | 903
175 | GUNTUR | 11KV Syamala Nagar | 4400 | 1 | 985
176 | GUNTUR | 11KV Sibar Industrial | 2296 | 3 | 6927
177 | GUNTUR | 11KV Gandhi park | 1152 | 2 | 1040
178 | GUNTUR | 11KV Guntur 18th | 8184 | 2 | 4281
179 | GUNTUR | 11KV Dwaraka Nagar | 2900 | 4 | 9230
180 | GUNTUR | 11KV Ring Road | 2477 | 0 | 0
181 | GUNTUR | 11KV Auto Nagar 1 & 2 | 4526 | 0 | 0
182 | GUNTUR | 11KV Water Works | 41 | 3 | 5369
183 | GUNTUR | 11KV Guntur 3rd | 5457 | 4 | 7639
184 | GUNTUR | 11KV AnkiReddy Palem | 2811 | 2 | 4173
185 | GUNTUR | 11KV Guntur 7th | 5230 | 1 | 2329
186 | GUNTUR | 11KV Guntur 1st | 7182 | 6 | 9631
187 | GUNTUR | 11KV SIMHAPURI | 6897 | 3 | 7523
188 | GUNTUR | Kalanikethan Feeder (Local 22nd) | 1198 | 2 | 4597
189 | GUNTUR | 11KV Guntur 9th | 3974 | 3 | 8487
190 | GUNTUR | 11KV Reddypalem | 7284 | 2 | 7247
191 | GUNTUR | 11KV Guntur 5th | 4505 | 0 | 0
192 | GUNTUR | 11 KV PRIYANKA GARDENS | 7915 | 1 | 2891
193 | GUNTUR | 11KV Tolly Wood | 4267 | 4 | 9660
194 | GUNTUR | 11KV Hanumaiah Nagar | 3839 | 3 | 8459
195 | GUNTUR | 11KV Temple | 2626 | 2 | 5861
196 | GUNTUR | 11KV RAMESH HOSPITAL | 3504 | 3 | 4141
197 | GUNTUR | 11KV SAMPATH NAGAR | 5614 | 2 | 2548
198 | GUNTUR | 11KV Guntur 8th | 8902 | 1 | 2423
199 | GUNTUR | 11KV Gunturivarithota | 2724 | 3 | 7665
200 | GUNTUR | 11KV Guntur 16th | 4410 | 1 | 1543
201 | GUNTUR | 11KV Industrial | 4299 | 3 | 5844
202 | GUNTUR | 11KV Brundavan Gardens Feeder | 3064 | 0 | 0
203 | GUNTUR | 11KV Guntur 21st | 1291 | 3 | 7622
204 | GUNTUR | 11KV ID Hospital | 4383 | 4 | 7004
205 | GUNTUR | 11KV Kothapet | 2176 | 3 | 10587
206 | GUNTUR | 11KV Lalapet1 & Lalapet2 | 2643 | 3 | 8383
207 | GUNTUR | 11KV Srinagar | 5806 | 2 | 3994
208 | GUNTUR | 11KV K.K. Towers | 3783 | 3 | 5429
209 | GUNTUR | 11KV Vidya nagar | 2614 | 0 | 0
210 | GUNTUR | 11KV JKC Road Feeder | 4400 | 0 | 0
211 | GUNTUR | 11KV Cobaltpet | 3865 | 2 | 5585
212 | GUNTUR | 11KV Naaz | 3266 | 2 | 7317
213 | GUNTUR | 11KV Pattabhipuram | 2210 | 2 | 5288
214 | GUNTUR | 11KV Stambalagaruvu | 1527 | 0 | 0
215 | GUNTUR | 11KV Bhashyam | 6030 | 0 | 0
216 | GUNTUR | 11KV Navabharath nagar | 2244 | 1 | 2132
217 | GUNTUR | 11KV Guntur 15th | 5197 | 1 | 1053
218 | GUNTUR | 11KV Vikas nagar | 1842 | 1 | 2882
219 | GUNTUR | 11KV Guntur 13th | 3829 | 2 | 5394
220 | GUNTUR | 11KV Koritepadu | 4523 | 4 | 10394
221 | GUNTUR | 11KV Railpet | 2969 | 3 | 7416
222 | GUNTUR | 11KV BY PASS ROAD | 1837 | 3 | 4715
223 | GUNTUR | 11KV Sarada Colony | 7455 | 0 | 0
224 | GUNTUR | 11KV Yethi Rajula Colony | 3935 | 3 | 8115
225 | GUNTUR | 11KV Lam & Jonnalagadda | 4028 | 4 | 12336
226 | GUNTUR | 11KV Pulladigunta | 95 | 2 | 5169
227 | GUNTUR | 11KV Bongaralabeedu | 7352 | 0 | 0
228 | GUNTUR | 11KV Chaitanyapuri | 4310 | 5 | 11843
229 | GUNTUR | 11KV Adarsh Nagar | 3131 | 0 | 0
230 | GUNTUR | 11KV Nehru Nagar Water Works | 2453 | 1 | 2490
231 | GUNTUR | 11KV Lalpuram Village Feeder | 2847 | 3 | 9459
232 | GUNTUR | 11KV Guntur 20th | 983 | 2 | 4190
233 | GUNTUR | Highway | 1807 | 4 | 8216
234 | GUNTUR | 11KV Auto Nagar 3 & 4 | 4262 | 0 | 0
235 | GUNTUR | 11KV Industrial Estate | 2660 | 0 | 0
236 | GUNTUR | 11 KV PRAGATHI NAGAR | 3606 | 1 | 1402
237 | GUNTUR | 11KV Vasantharayapuram | 7663 | 3 | 5821
238 | GUNTUR | 11 KV BALAJI NAGAR | 76 | 1 | 940
239 | GUNTUR | 11KV Green leaf | 3184 | 2 | 1020
240 | GUNTUR | 11KV ETUKURU ROAD | 5721 | 7 | 13208
241 | GUNTUR | 11KV U.G.cable | 341 | 1 | 2461
242 | GUNTUR | 11KV Guntur 10th | 3801 | 2 | 1903
243 | GUNTUR | 11KV Market | 3664 | 3 | 3829
244 | GUNTUR | 11KV Guntur 19th | 3729 | 2 | 4809
245 | GUNTUR | 11KV ‘R’ AGRAHARAM | 5692 | 1 | 2174
246 | GUNTUR | 11KV NH - 5 Feeder | 2523 | 3 | 6463
247 | GUNTUR | Jana Chaitanya | 2065 | 4 | 9174
248 | GUNTUR | Arundalpeta Park (Local 23rd) | 4462 | 2 | 4607
249 | GUNTUR | 11KV Vijayapuri | 3158 | 1 | 2320
250 | GUNTUR | 11KV Amaravathi Road | 3031 | 5 | 10167
251 | GUNTUR | 11KV Guntur 17th | 7137 | 1 | 3519
252 | GUNTUR | 11KV SWARNA BHARATHI NAGAR | 7037 | 4 | 6886
253 | GUNTUR | 11KV Balaji Nagar | 9868 | 3 | 5669
254 | GUNTUR | 11KV Guntur 11th | 5087 | 2 | 4738
255 | GUNTUR | 11KV Guntur 14th | 3646 | 1 | 1180
256 | GUNTUR | 11KV Railway Station Road | 7242 | 2 | 5054
257 | GUNTUR | 11KV Gorantla | 4884 | 4 | 10645
258 | GUNTUR | 11 KV YADAVA HIGH SCHOOL | 7062 | 3 | 3751
259 | GUNTUR | 11KV Ananthavarapadu Feeder | 6630 | 5 | 10591
260 | GUNTUR | 11KV Rajendra Nagar Feeder | 3972 | 0 | 0
261 | GUNTUR | 11KV Brodipet | 2493 | 4 | 6380
262 | GUNTUR | 11KV Reliance | 910 | 4 | 8070
263 | GUNTUR | 11KV Srinivasa Rao thota | 1914 | 3 | 7539
264 | GUNTUR | 11KV Guntur 4th | 5158 | 3 | 6406
265 | GUNTUR | 11KV KVP Colony | 5149 | 2 | 4312
266 | GUNTUR | 11KV Guntur 12th | 6653 | 2 | 4513
267 | GUNTUR | 11KV GGH Feeder | 7729 | 2 | 4112
268 | GUNTUR | 11KV Manasasarovaram | 2296 | 0 | 0
269 | GUNTUR | 11KV AC College Road | 421 | 2 | 4826
270 | GUNTUR | 11KV Panduranga Nagar | 4896 | 3 | 9723
271 | GUNTUR | 11KV Best price | 3546 | 0 | 0
272 | GUNTUR | 11KV Guntur 6th | 4935 | 1 | 2919
273 | GUNTUR | 11KV Nehru Nagar | 1213 | 0 | 0
274 | GUNTUR | 11KV Budampadu | 4492 | 4 | 5434
275 | GUNTUR | 11KV Chandra Mouli Nagar & Kundal Road | 2828 | 3 | 7250
276 | GUNTUR | 11KV Guntur 2nd & Anandpet | 11713 | 4 | 6210
277 | GUNTUR | 11KV Lakshmipuram & Ashok Nagar | 5860 | 2 | 4608
278 | HINDUPUR | 11KVSugur-DI | 4725 | 2 | 2538
279 | HINDUPUR | 11KVHindupur-DI | 8018 | 2 | 2964
280 | HINDUPUR | 11KVHindupur-DII | 6847 | 0 | 0
281 | HINDUPUR | 11KVRTC Hindupur | 5115 | 1 | 2269
282 | HINDUPUR | 11KVS.Sadlapalli | 6719 | 2 | 2574
283 | HINDUPUR | 11KVSugur-DII | 4614 | 2 | 2538
284 | HINDUPUR | 11KVMelapuram | 7279 | 3 | 4501
285 | JAGGAIAHPET | 11KV Jaggaiahpeta Feeder II | 1544 | 6 | 16567
286 | JAGGAIAHPET | 11KV Jaggaiahpeta Feeder I | 1461 | 8 | 19094
287 | JAGGAIAHPET | 11KV Ramalayam feeder | 4356 | 8 | 21503
288 | JAGGAIAHPET | 11KV Jaggaiahpeta Feeder III | 3801 | 7 | 15863
289 | JAGGAIAHPET | 11KV Ayyappanagar feeder | 8943 | 0 | 0
290 | JAGGAIAHPET | 11KV Jaggaiahpeta Feeder IV | 67 | 7 | 14191
291 | JAMMALAMADUGU | 11KV Town-I | 4643 | 6 | 13882
292 | JAMMALAMADUGU | 11KV Laxmi Nagar | 228 | 0 | 0
293 | JAMMALAMADUGU | 11KV JMD Water Works(Cambel) | 3274 | 9 | 18971
294 | JAMMALAMADUGU | 11KV Kanneluru | 2134 | 0 | 0
295 | JAMMALAMADUGU | 11KV Old Busstand(PDTR) Road | 3798 | 0 | 0
296 | JAMMALAMADUGU | 11KV Town-II | 1516 | 0 | 0
297 | JAMMALAMADUGU | 11KV MORAGUDI | 3155 | 2 | 8895
298 | JAMMALAMADUGU | 11KV TTD | 4188 | 0 | 0
299 | KADAPA | 11KV S.PURAM | 2362 | 0 | 0
300 | KADAPA | 11KV N.NAGAR | 2496 | 2 | 1334
301 | KADAPA | 11KV Nagaraju Peta | 5509 | 0 | 0
302 | KADAPA | 11KV D.NAGAR | 3603 | 1 | 2264
303 | KADAPA | 11KV N.G.O.COLONY | 6581 | 1 | 2390
304 | KADAPA | 11KV Water Works Feeder | 2594 | 2 | 3906
305 | KADAPA | 11KV Ravindra Nagar | 4258 | 0 | 0
306 | KADAPA | 11KV RTC | 2760 | 3 | 4013
307 | KADAPA | 11KV Collctorate | 4230 | 2 | 5683
308 | KADAPA | 11KV S.V.D.C., | 11759 | 0 | 0
309 | KADAPA | 11KV Z.PARISHAD | 5967 | 0 | 0
310 | KADAPA | 11KV Yerramukkapalli | 3062 | 2 | 3434
311 | KADAPA | 11KV Pakkir Palli | 3233 | 3 | 3863
312 | KADAPA | 11KV R.S.Road | 2581 | 1 | 941
313 | KADAPA | 11KV Sai baba anadha | 4494 | 1 | 1505
314 | KADAPA | 11KV M.R.Nagar | 1342 | 1 | 1010
315 | KADAPA | 11KV Old Rims | 1126 | 1 | 1159
316 | KADAPA | 11KV Hospital | 2473 | 1 | 1596
317 | KADAPA | 11KV Eenadu | 7998 | 5 | 11235
318 | KADAPA | 11KV Balaji nagar | 8745 | 3 | 7088
319 | KADAPA | 11KV R.K.COLLEGE | 4088 | 1 | 667
320 | KADAPA | 11KV Mutharasu Palli | 11201 | 0 | 0
321 | KADAPA | 11KV Indrastrial | 5210 | 4 | 5123
322 | KADAPA | 11KV AIR | 9578 | 2 | 1582
323 | KADAPA | 11KV Madras Road | 2039 | 1 | 1743
324 | KADAPA | 11KV GANDHI NAGAR | 1100 | 2 | 3373
325 | KADAPA | 11KV MASSAPETA | 5993 | 1 | 1244
326 | KADAPA | 11KV Colony | 1467 | 1 | 898
327 | KADAPA | 11KV ASHOK NAGAR FEEDER | 6799 | 1 | 2900
328 | KADAPA | 11KV Collectorate | 6045 | 0 | 0
329 | KADAPA | 11KV Sai Peta | 5682 | 2 | 5008
330 | KADAPA | 11KV North Kadapa | 16124 | 2 | 6292
331 | KADAPA | 11KV NAKASH | 3078 | 0 | 0
332 | KADAPA | 11KV T.T.D., | 2302 | 0 | 0
333 | KADAPA | 11KV GOUSE NAGAR | 2631 | 1 | 981
334 | KADAPA | 11KV Devuni Kadapa | 837 | 3 | 3949
335 | KADAPA | 11KV Sivanandapuram | 3151 | 3 | 3983
336 | KADAPA | 11KV Ballari road | 6887 | 1 | 2370
337 | KADAPA | 11KV Nabikota | 7094 | 2 | 6475
338 | KADAPA | 11KV PRAKASH NAGAR | 9467 | 2 | 4455
339 | KADIRI | 11KV Kadiri D-IV | 3182 | 2 | 2972
340 | KADIRI | 11KV Kuttagulla | 4016 | 3 | 3311
341 | KADIRI | 11KV Kadiri D-III | 9011 | 1 | 1980
342 | KADIRI | 11KV Kadiri D-I | 9276 | 2 | 1666
343 | KADIRI | 11KV Kummarvandla palli | 6961 | 0 | 0
344 | KADIRI | 11KV Kadiri D-II | 11662 | 1 | 884
345 | KANDUKURU | 11KV SBI | 1858 | 0 | 0
346 | KANDUKURU | 11KV SIVALAYAM | 4238 | 1 | 676
347 | KANDUKURU | 11KV SRINAGAR COLONY | 858 | 8 | 9301
348 | KANDUKURU | 11KV PAMURUROAD | 3420 | 2 | 2221
349 | KANDUKURU | 11KV CTRI | 1279 | 2 | 7651
350 | KANDUKURU | 11KV LIC | 2229 | 9 | 9312
351 | KANDUKURU | 11KV SS TANK | 23 | 1 | 1049
352 | KANDUKURU | 11KV MRO_OFFICE | 2210 | 4 | 6673
353 | KANDUKURU | 11KV UPPUCHERUVU | 3729 | 3 | 3925
354 | KANDUKURU | 11KV VENKATADRI PALEM | 1295 | 9 | 11709
355 | KANDUKURU | 11KV JANARDHANCOLONY | 963 | 4 | 4282
356 | KAVALI | 11KV Trunk Road | 4691 | 4 | 10643
357 | KAVALI | 11KV Kacherimitta | 4566 | 6 | 11622
358 | KAVALI | 11KV Sivalayam | 14590 | 4 | 7618
359 | KAVALI | 11KV Vykuntapuram | 3542 | 0 | 0
360 | KAVALI | 11KV Kalugolamma | 1075 | 2 | 2123
361 | KAVALI | 11KV Potti Sriramulu | 16504 | 2 | 2658
362 | KAVALI | 11KV Vengal Rao Nagar | 6115 | 0 | 0
363 | KAVALI | 11KV Old town | 2464 | 1 | 2208
364 | KAVALI | 11KV Railway Road | 2095 | 2 | 6150
365 | KURNOOL | 11KV G.G. HOSPITAL | 4227 | 2 | 4752
366 | KURNOOL | 11KV GUEST HOUSE | 3654 | 2 | 7519
367 | KURNOOL | ABK Estate | 1346 | 4 | 9572
368 | KURNOOL | 11KV MILK DIARY (G.G.HOSPITAL SS) | 2651 | 3 | 9360
369 | KURNOOL | 11KV BAVAPURAM | 3387 | 6 | 20198
370 | KURNOOL | 11KV PEDDA MARKET | 5579 | 2 | 2663
371 | KURNOOL | 11KV M.D. | 9434 | 1 | 2957
372 | KURNOOL | 11KV ZILLA PARISHAD | 721 | 3 | 8235
373 | KURNOOL | 11KV OSMANIA | 5964 | 1 | 3258
374 | KURNOOL | 11KV BUDHA VARPETA | 5182 | 2 | 4646
375 | KURNOOL | 11KV CHINNAMMA VARI SALA | 7809 | 2 | 4770
376 | KURNOOL | 11KV BAPUJI NAGAR | 6807 | 2 | 4418
377 | KURNOOL | 11KV VENKATA RAMANNA COLONY | 5270 | 1 | 2416
378 | KURNOOL | U Con plaza | 2279 | 3 | 8143
379 | KURNOOL | 11KV BAVAPURAM | 5479 | 0 | 0
380 | KURNOOL | 11KV NORTH | 3191 | 0 | 0
381 | KURNOOL | 11KV T.B.I. | 6625 | 3 | 4585
382 | KURNOOL | 11KV DPO | 5767 | 1 | 1388
383 | KURNOOL | 11KV WATER WORKS(POWER HOUSE) | 2507 | 1 | 2728
384 | KURNOOL | 11KV N.R. PETA | 3035 | 1 | 2972
385 | KURNOOL | 11KV PRAKASH NAGAR | 3467 | 1 | 2147
386 | KURNOOL | 11KV SANTOSH NAGAR | 4346 | 2 | 6405
387 | KURNOOL | 11KV ESTATE TOWN-1 | 4625 | 1 | 2438
388 | KURNOOL | 11KV CENTRAL | 8938 | 2 | 4896
389 | KURNOOL | 11KV WEAKER SECTION COLONY | 7392 | 3 | 11358
390 | KURNOOL | 11KV KIDS WORLD | 2342 | 1 | 1957
391 | KURNOOL | 11KV NEW I T I | 2709 | 2 | 1451
392 | KURNOOL | 11KV SAI BABA | 4273 | 1 | 1385
393 | KURNOOL | 11KV WATER WORKS(JOHARAPURAM) | 1853 | 2 | 4023
394 | KURNOOL | 11KV WATER WORKS | 2992 | 1 | 2693
395 | KURNOOL | Vidhya Nagar | 6589 | 3 | 9143
396 | KURNOOL | 11KV RADIO STATION | 3775 | 0 | 0
397 | KURNOOL | 11KV ESTATE TOWN-III | 2154 | 1 | 2524
398 | KURNOOL | 11KV B. CAMP | 3654 | 0 | 0
399 | KURNOOL | 11KV NEW VARTHA | 3139 | 0 | 0
400 | KURNOOL | 11KV VARTHA | 1579 | 1 | 3324
401 | KURNOOL | 11KV C. CAMP | 7999 | 1 | 3421
402 | KURNOOL | 11KV IV CLASS | 6128 | 0 | 0
403 | KURNOOL | 11KV DEGREE COLLEGE | 3637 | 0 | 0
404 | KURNOOL | 11KV ESTATE RURAL | 3906 | 1 | 2495
405 | KURNOOL | 11KV HOUSING BOARD | 3596 | 0 | 0
406 | KURNOOL | 11KV ESTATE TOWN-2 | 2302 | 1 | 2118
407 | KURNOOL | 11KV CHECK POST | 15502 | 0 | 0
408 | KURNOOL | 11KV VIGNAN MANDIR | 1853 | 0 | 0
409 | MACHERLA | 11KV AIR | 1133 | 6 | 14795
410 | MACHERLA | 11KV Sagar Road | 3576 | 3 | 7507
411 | MACHERLA | 11KV Town 1 | 5163 | 0 | 0
412 | MACHERLA | 11KV Town 2 | 3518 | 0 | 0
413 | MACHERLA | 11KV Municipal water works | 393 | 6 | 15296
414 | MACHERLA | 11KV Suddagunta | 4677 | 4 | 13048
415 | MACHERLA | 11KV Ring Road | 6324 | 0 | 0
416 | MACHILIPATNAM | 11KV Sivaganga | 3156 | 4 | 10306
417 | MACHILIPATNAM | 11KV Ring-I | 3479 | 3 | 9482
418 | MACHILIPATNAM | 11KV Industrial Estate | 1068 | 4 | 11644
419 | MACHILIPATNAM | 11KV MTM Town-2 | 2018 | 1 | 2718
420 | MACHILIPATNAM | 11KV MTM Town-1 | 1742 | 0 | 0
421 | MACHILIPATNAM | 11KV EDEPALLI | 3462 | 2 | 6021
422 | MACHILIPATNAM | 11KV Malkapatnam | 3600 | 6 | 15468
423 | MACHILIPATNAM | 11KV Bandarkota | 2159 | 7 | 15860
424 | MACHILIPATNAM | 11KV Govt Hospital | 2827 | 4 | 10237
425 | MACHILIPATNAM | 11KV Chilakalapudi | 4002 | 3 | 8576
426 | MACHILIPATNAM | 11KV North | 3459 | 2 | 6939
427 | MACHILIPATNAM | 11KV Ring-II | 14567 | 3 | 7523
428 | MACHILIPATNAM | 11KV Jewellary Park | 5759 | 3 | 6795
429 | MACHILIPATNAM | 11KV Inuguduru | 5697 | 2 | 5273
430 | MACHILIPATNAM | 11KV South | 3409 | 2 | 6939
431 | MACHILIPATNAM | 11KV Fort Road | 3912 | 5 | 11939
432 | MACHILIPATNAM | 11KV Railway Station | 4624 | 3 | 7690
433 | MACHILIPATNAM | 11KV RTC | 2621 | 4 | 10006
434 | MACHILIPATNAM | 11KV Jalalpeta | 4139 | 5 | 11458
435 | MACHILIPATNAM | 11KV SHAKTHIGUDI | 4103 | 2 | 5903
436 | MACHILIPATNAM | 11KV Zilla court | 2864 | 3 | 7064
437 | MACHILIPATNAM | 11KV Radar | 1374 | 2 | 7065
438 | MADANAPALLI | 11KV Vivekananda Nagar | 3839 | 1 | 2623
439 | MADANAPALLI | 11KV Bridge School | 7843 | 3 | 5479
440 | MADANAPALLI | 11KV N G palli | 5384 | 3 | 3858
441 | MADANAPALLI | 11KV Manjunatha | 5009 | 1 | 3199
442 | MADANAPALLI | 11KV Sanitorium | 4893 | 3 | 4905
443 | MADANAPALLI | 11KV Estate | 6008 | 1 | 642
444 | MADANAPALLI | Punganur Road | 3497 | 1 | 2979
445 | MADANAPALLI | 11KV Kuravanka | 3743 | 0 | 0
446 | MADANAPALLI | 11KV YSR nagar | 7469 | 1 | 3152
447 | MADANAPALLI | 11KV Nehru Bazaar | 11653 | 1 | 2243
448 | MADANAPALLI | 11KV Society colony | 7324 | 3 | 4327
449 | MADANAPALLI | 11KV Tele phone exch | 5604 | 1 | 836
450 | MADANAPALLI | 11KV Gandhi Road | 3317 | 1 | 711
451 | MADANAPALLI | 11KV Krishna nagar | 5112 | 0 | 0
452 | MADANAPALLI | 11KV MMC | 4772 | 1 | 2205
453 | MADANAPALLI | 11KV Ramarao colony | 5545 | 1 | 2362
454 | MARKAPUR | 11KV TOWN II | 5150 | 5 | 10191
455 | MARKAPUR | 11KV MARKAPUR TOWN | 3500 | 11 | 25780
456 | MARKAPUR | 11KV INDUSTRAILESTATE | 3241 | 6 | 16610
457 | MARKAPUR | 11KV TOWN III | 4121 | 4 | 7511
458 | MARKAPUR | 11KV JAGADESWARI | 4243 | 9 | 20218
459 | MARKAPUR | 11KV AIR | 949 | 5 | 9780
460 | MARKAPUR | 11KV TOWN1 | 8744 | 3 | 3397
461 | MARKAPUR | 11KV RTC | 4088 | 9 | 15086
462 | NANDYAL | 11KV PARK ROAD | 1062 | 3 | 5668
463 | NANDYAL | 11KV INDUSTRIAL | 6204 | 1 | 1697
464 | NANDYAL | Kranthi Nagar | 9578 | 2 | 2171
465 | NANDYAL | 11KV NGO S | 15682 | 2 | 3156
466 | NANDYAL | 11KV SAIBABA NAGAR | 7034 | 1 | 917
467 | NANDYAL | 11KV PONAPURAM | 1858 | 1 | 2296
468 | NANDYAL | 11KV RURAL INDUSTRIAL | 1100 | 2 | 2761
469 | NANDYAL | 11 KV REVENUE QUATERS FEEDER | 2644 | 1 | 1712
470 | NANDYAL | 11 KV GELIVI | 2916 | 3 | 5110
471 | NANDYAL | 11 KV RTC 2 | 4553 | 3 | 5011
472 | NANDYAL | 11 KV NUNAPALLI | 4463 | 0 | 0
473 | NANDYAL | Srinivasa center | 5394 | 0 | 0
474 | NANDYAL | Tekke | 4410 | 3 | 7013
475 | NANDYAL | Padhmavathi nagar | 23160 | 0 | 0
476 | NANDYAL | Sanjeev nagar gate | 3163 | 0 | 0
477 | NANDYAL | 11KV MILK DAIRY | 4002 | 2 | 1993
478 | NANDYAL | 11KV TOWN | 1489 | 1 | 1009
479 | NANDYAL | 11KV NADIGADDA | 5838 | 0 | 0
480 | NANDYAL | 11KV BYPASS | 3963 | 0 | 0
481 | NANDYAL | 11KV SUGAR | 2536 | 3 | 5325
482 | NANDYAL | 11 KV WATER WORKS | 7711 | 0 | 0
483 | NANDYAL | 11KV Y.S.R | 4636 | 0 | 0
484 | NANDYAL | 11KV BOMALASATRAM | 9214 | 1 | 1665
485 | NANDYAL | 11KV RTC | 2048 | 0 | 0
486 | NANDYAL | 11KV INDUSTRIAL | 1358 | 2 | 1864
487 | NANDYAL | 11KV BOGULINE | 3950 | 0 | 0
488 | NANDYAL | 11 KV GOVT.HOSPITAL FEEDER | 3693 | 3 | 3863
489 | NARASARAOPET | 11KV Prakash Nagar | 2320 | 12 | 17365
490 | NARASARAOPET | 11KV RTC | 2059 | 9 | 13946
491 | NARASARAOPET | 11KV Estate | 2782 | 3 | 6827
492 | NARASARAOPET | 11KV Bank Colony | 4351 | 4 | 4233
493 | NARASARAOPET | 11KV ShalemNagar | 2053 | 9 | 14292
494 | NARASARAOPET | 11KV ST.Anns | 4041 | 8 | 15972
495 | NARASARAOPET | 11KV Town Hall | 2510 | 11 | 15981
496 | NARASARAOPET | 11KV Sivastatue Centre | 3313 | 4 | 5851
497 | NARASARAOPET | 11KV Town C | 3807 | 2 | 1146
498 | NARASARAOPET | 11KV Station Road | 1967 | 16 | 22863
499 | NARASARAOPET | 11KV Burampet | 2984 | 3 | 6386
500 | NARASARAOPET | 11KV Town A | 3654 | 0 | 0
501 | NARASARAOPET | 11KV Pathuru | 2219 | 4 | 5140
502 | NARASARAOPET | 11KV Islampet | 5416 | 6 | 10452
503 | NARASARAOPET | 11KV Ramireddypet | 2263 | 11 | 15773
504 | NARASARAOPET | 11KV Sisumandir | 1728 | 2 | 6065
505 | NARASARAOPET | 11KV SS & N College | 2445 | 2 | 6209
506 | NARASARAOPET | 11KV Palanadu | 1746 | 3 | 6809
507 | NARASARAOPET | 11KV Govt. Hospital | 2106 | 3 | 5921
508 | NARASARAOPET | 11KV Town B | 4099 | 5 | 6012
509 | NELLORE | 11KV Sundaraiah Colony | 6371 | 0 | 0
510 | NELLORE | 11KV RTO Office | 4583 | 2 | 1578
511 | NELLORE | 11KV D.K.W. | 1047 | 1 | 1470
512 | NELLORE | 11KV Santhi Nagar | 3659 | 0 | 0
513 | NELLORE | 11KV Rajavari Street | 4943 | 3 | 6217
514 | NELLORE | 11KV Nawabala | 3890 | 0 | 0
515 | NELLORE | 11KV ISKCON City | 1915 | 1 | 2337
516 | NELLORE | 11KV Trunkroad Cable | 894 | 0 | 0
517 | NELLORE | 11KV OLD ZP | 6554 | 1 | 1361
518 | NELLORE | 11KV Mansoornagar | 1888 | 2 | 3343
519 | NELLORE | 11KV Padugupadu | 2104 | 3 | 8598
520 | NELLORE | 11 KV DSR+11 KV MCN+11KV Collectorbangla | 2631 | 1 | 510
521 | NELLORE | 11KV Padarupalli | 4646 | 3 | 4429
522 | NELLORE | 11KV Auto Nagar | 4315 | 1 | 1423
523 | NELLORE | 11KV Pappula street (C.G.Road) | 1187 | 0 | 0
524 | NELLORE | 11 KV MSR+11 KV Sujathamma Colony | 1116 | 1 | 1431
525 | NELLORE | 11KV Dargamitta. | 8879 | 1 | 1361
526 | NELLORE | 11KV Adithya Nagar | 5955 | 0 | 0
527 | NELLORE | 11KV Collector office Cable | 1991 | 1 | 1361
528 | NELLORE | 11KV Ranganayakula Pet | 4578 | 0 | 0
529 | NELLORE | 11KV Pragati Nagar | 1493 | 1 | 510
530 | NELLORE | 11KV Chandra mouli nagar | 3514 | 0 | 0
531 | NELLORE | 11KV SapthagiriColony | 3624 | 2 | 1253
532 | NELLORE | 11 KV Gowthami Nagar Feeder | 2479 | 1 | 769
533 | NELLORE | 11 KV Pragathi Nagar Feeder | 3991 | 1 | 508
534 | NELLORE | 11 KV Z.P.Colony Feeder | 6767 | 1 | 592
535 | NELLORE | 11KV Pennar | 7176 | 1 | 702
536 | NELLORE | 11 KV DSR Hospital Feeder | 6955 | 0 | 0
537 | NELLORE | 11KV Nethaji Nagar | 5869 | 1 | 935
538 | NELLORE | 11 KV Gandhi nagar+11 KV Enadu | 5541 | 0 | 0
539 | NELLORE | 11KV D.S.Nagar | 3182 | 0 | 0
540 | NELLORE | 11KV NGO COLONY | 3338 | 0 | 0
541 | NELLORE | 11KV R F Road / Iska donka | 4470 | 1 | 1464
542 | NELLORE | 11KV Kondayapalem | 2768 | 2 | 3085
543 | NELLORE | 11KV Venkatadri | 2717 | 0 | 0
544 | NELLORE | 11KV Complex Road | 2857 | 2 | 1737
545 | NELLORE | 11KV PARTHASARADHI NAGAR | 2048 | 1 | 2509
546 | NELLORE | 11KV Janardan Reddy Colony | 3367 | 1 | 881
547 | NELLORE | 11KV Appolo | 1116 | 1 | 2148
548 | NELLORE | 11KV Rammurthy Nagar / James Garden | 3816 | 1 | 2035
549 | NELLORE | 11 KV Tadikela bazar | 4567 | 0 | 0
550 | NELLORE | 11 KV Meclance | 3050 | 2 | 3145
551 | NELLORE | 11KV NTR Nagar | 2958 | 2 | 3805
552 | NELLORE | 11KV SIMHAPURI HOSPITAL | 6764 | 1 | 1004
553 | NELLORE | 11KV Lecturers Colony | 6956 | 0 | 0
554 | NELLORE | 11KV Nartaki Centre | 2966 | 2 | 1481
555 | NELLORE | 11KV Kaveri Nagar | 4800 | 0 | 0
556 | NELLORE | 11KV Ramaiah badi | 4086 | 2 | 2156
557 | NELLORE | 11 KV Mulumudi busstand | 3338 | 0 | 0
558 | NELLORE | 11KV Padmavathi Nagar | 1259 | 0 | 0
559 | NELLORE | 11KV Ramji Nagar | 2192 | 1 | 1785
560 | NELLORE | 11KV AP TOURISM | 4805 | 0 | 0
561 | NELLORE | 11KV Simhapuri Hotel | 1227 | 0 | 0
562 | NELLORE | 11 KV Gupthapark | 3956 | 0 | 0
563 | NELLORE | 11KV Fathekhan Pet | 4284 | 0 | 0
564 | NELLORE | 11 KV Wiewers colony | 3742 | 0 | 0
565 | NELLORE | 11KV FCI colony | 4313 | 2 | 1917
566 | NELLORE | 11KV POSTAL COLONY | 2001 | 1 | 1138
567 | NELLORE | 11 KV Janda Street Feeder | 4313 | 2 | 3515
568 | NELLORE | 11KV Haranadha Puram. | 4305 | 0 | 0
569 | NELLORE | 11KV Muralikrishna | 7526 | 2 | 1696
570 | NELLORE | 11KV SIMHAPURI COLONY | 3097 | 1 | 2696
571 | NELLORE | 11KV MCN WaterWorksdedicated(NMC) | 4320 | 2 | 3256
572 | NELLORE | 11KV Walkers Road | 7089 | 3 | 6611
573 | NELLORE | 11 KV Khuddus Nagar | 7527 | 3 | 3843
574 | NELLORE | 11KV Kotamitta. | 5931 | 4 | 8175
575 | NELLORE | 11 KV ERO Feeder | 1827 | 2 | 2908
576 | NELLORE | 11KV Venkateswara Puram | 3097 | 2 | 1719
577 | NELLORE | 11KV Gandhi Girijana Colony | 6505 | 1 | 1307
578 | NELLORE | 11 KV Laxmi puram | 4531 | 1 | 2904
579 | NELLORE | 11 KV Bodigadi thota | 3371 | 1 | 2257
580 | NELLORE | 11KV Balajinagar. | 7089 | 0 | 0
581 | NELLORE | 11KV C.G.Road | 5932 | 1 | 680
582 | NELLORE | 11KV POLICE COLONY | 3585 | 1 | 609
583 | NELLORE | 11KV D.S.Industrial | 3199 | 2 | 2023
584 | NELLORE | 11KV VidyuthBhavan | 9310 | 1 | 2801
585 | NELLORE | 11KV S.H.Pet . | 5141 | 1 | 1297
586 | NELLORE | 11KV Nawabpet | 8664 | 2 | 1242
587 | NELLORE | 11KV Pogathota | 2468 | 1 | 1375
588 | NELLORE | 11KV Sunday Market | 4336 | 1 | 1085
589 | NELLORE | 11KV Brundavanam | 7795 | 0 | 0
590 | NELLORE | 11KV Big Bazar-1+II+ERO | 5022 | 0 | 0
591 | NELLORE | 11KV Nippo Industrial feeder | 822 | 0 | 0
592 | NELLORE | 11KV A.C. Nagar / SVR | 6153 | 0 | 0
593 | NELLORE | 11KV Sanjay Gandhi Nagar | 4839 | 0 | 0
594 | NELLORE | 11KV Industrial & Domestic feeder | 2802 | 0 | 0
595 | NELLORE | 11KV Jyothi Nagar | 6959 | 1 | 3091
596 | NELLORE | 11KV Wood Complex | 1393 | 0 | 0
597 | NELLORE | 11KV Venkatareddy Nagar | 2698 | 0 | 0
598 | NELLORE | 11KV Saraswathi Nagar | 2182 | 1 | 1963
599 | NELLORE | 11KV Yelamavari Dinnee | 8415 | 0 | 0
600 | NELLORE | 11KV VRC | 6959 | 1 | 1366
601 | NUZVID | 11KV Local/Nuzvid-3 | 4049 | 0 | 0
602 | NUZVID | 11KV Local/Nuzvid-2 | 3065 | 2 | 6292
603 | NUZVID | 11 KV Nandini (HT) | 2 | 0 | 0
604 | NUZVID | 11KV Local/Nuzvid-1 | 3791 | 3 | 10021
605 | NUZVID | 11 KV Krishna water works | 3273 | 4 | 10267
606 | ONGOLE | 11KV RAM NAGAR | 1308 | 2 | 4325
607 | ONGOLE | 11KV TRUNKROAD | 2722 | 0 | 0
608 | ONGOLE | 11KV FILTERBED | 8 | 0 | 0
609 | ONGOLE | 11KV LAMBADIDONKA | 421 | 0 | 0
610 | ONGOLE | 11KV LAWERPET | 1814 | 1 | 3377
611 | ONGOLE | 11KV CRP | 3218 | 2 | 1191
612 | ONGOLE | 11KV INDUSTRIAL | 10644 | 1 | 506
613 | ONGOLE | 11KV MILKDIARY | 4 | 0 | 0
614 | ONGOLE | 11KV KAMMAPALEM | 2318 | 1 | 1327
615 | ONGOLE | 11KV LIC | 1779 | 1 | 706
616 | ONGOLE | 11KV SRI NAGAR | 12354 | 2 | 3563
617 | ONGOLE | 11KV KMS SCHOOL | 1179 | 1 | 1799
618 | ONGOLE | 11KV ENUGACHETTU | 3010 | 0 | 0
619 | ONGOLE | 11KV KURNOOL ROAD | 3603 | 1 | 2206
620 | ONGOLE | 11KV ADDANKI BUS STAND | 1069 | 1 | 3694
621 | ONGOLE | 11KV SUNDARAIAHBHAVAN ROAD | 904 | 1 | 553
622 | ONGOLE | 11KV BHAGYA NAGAR | 4939 | 2 | 2388
623 | ONGOLE | 11KV RAILWAY | 1 | 3 | 5300
624 | ONGOLE | 11KV VIP ROAD | 1707 | 1 | 2943
625 | ONGOLE | 11KV NIRMAL NAGAR | 1987 | 2 | 5842
626 | ONGOLE | 11KV WOOD COMPLEX | 1774 | 0 | 0
627 | ONGOLE | 11KV MUNICIPAL | 9306 | 1 | 2010
628 | ONGOLE | 11 KV SONIAGANDHI NAGAR | 1100 | 1 | 3616
629 | ONGOLE | 11KV RIMS | 294 | 2 | 4943
630 | ONGOLE | 11KV Sangamitra | 2202 | 2 | 6147
631 | ONGOLE | 11KV RAJIVNAGAR | 2248 | 0 | 0
632 | ONGOLE | 11KV POLICE QUARTERS | 1181 | 0 | 0
633 | ONGOLE | Housing Board feeder | 5211 | 0 | 0
634 | ONGOLE | 11KV Ambedkar Nagar | 3512 | 1 | 904
635 | ONGOLE | 11KV SATYANARAYANA PURAM | 3536 | 0 | 0
636 | ONGOLE | 11KV SIVAJINAGAR | 4966 | 1 | 698
637 | ONGOLE | 11KV SOUTH BYPASS FEEDER | 12787 | 1 | 3449
638 | ONGOLE | 11KV DWARAKA NAGAR | 2524 | 2 | 2729
639 | ONGOLE | 11KV SANTHAPETA | 2380 | 3 | 4085
640 | ONGOLE | 11KV BALAJI NAGAR | 4663 | 5 | 9619
641 | ONGOLE | 11KV LIC FEEDER | 1787 | 1 | 706
642 | ONGOLE | 11KV CLOUGHPET FEEDER | 2146 | 1 | 1063
643 | ONGOLE | 11KV CRP FEEDER | 3218 | 2 | 1191
644 | ONGOLE | 11KV SAMATHA NAGAR | 21654 | 3 | 8296
645 | ONGOLE | 11KV BRUNDAVAN NAGAR | 1500 | 1 | 3100
646 | ONGOLE | 11KV PEERLAMANYAM | 3398 | 2 | 1386
647 | ONGOLE | 11KV MILK DAIRY DEDICATED | 1909 | 0 | 0
648 | ONGOLE | 11KV ISLAMPET | 2774 | 1 | 2111
649 | ONGOLE | 11KV Seetharamapuram | 918 | 0 | 0
650 | ONGOLE | 11KV ZP colony | 2599 | 0 | 0
651 | ONGOLE | 11KV RTC | 1525 | 0 | 0
652 | ONGOLE | 11KV SRIGIRI | 3950 | 1 | 939
653 | ONGOLE | 11KV 60 FEET ROAD | 2344 | 0 | 0
654 | ONGOLE | 11KV SUJATHA NAGAR | 1889 | 1 | 855
655 | ONGOLE | 11KV GOPAL NAGAR | 2251 | 1 | 1856
656 | ONGOLE | 11KV BAPUJI COMPLEX | 2988 | 1 | 2292
657 | PONNURU | 11KV ABDUL KALAM | 3354 | 4 | 13589
658 | PONNURU | 11KV Ponnuru Town-III (Express ) | 6648 | 5 | 13998
659 | PONNURU | 11KV Ponnuru Town - II | 4044 | 4 | 13961
660 | PONNURU | 11KV Ponnuru Town - I | 2645 | 4 | 11466
661 | PONNURU | 11KV AMBEDKAR COLONY | 3638 | 0 | 0
662 | PONNURU | 11KV Nidubrolu-II | 2212 | 5 | 14404
663 | PONNURU | 11KV Nidubrolu-I | 2881 | 5 | 18298
664 | PONNURU | 11KV Ponnur Express -I | 3501 | 7 | 14997
665 | PRODDUTUR | 11KV Teachercolony | 3820 | 3 | 5796
666 | PRODDUTUR | 11KV Zinnaroad | 7055 | 3 | 5484
667 | PRODDUTUR | 11KV Litepalem | 8490 | 1 | 3360
668 | PRODDUTUR | 11KV Railway Station | 1597 | 0 | 0
669 | PRODDUTUR | 11KV Andhra Kesari | 7324 | 0 | 0
670 | PRODDUTUR | 11KV Gandhi Road | 4330 | 2 | 5982
671 | PRODDUTUR | 11KV Ammavarisala | 5172 | 1 | 1947
672 | PRODDUTUR | 11KV Arts College | 3140 | 3 | 8013
673 | PRODDUTUR | 11KV Power House Road | 20544 | 2 | 1603
674 | PRODDUTUR | 11KV Buddayapalli | 4669 | 12 | 21199
675 | PRODDUTUR | 11KV Korrapadu | 4657 | 5 | 13663
676 | PRODDUTUR | 11KV Sivalayam | 23158 | 6 | 13124
677 | PRODDUTUR | 11KV Amrutha Nagar | 1733 | 7 | 9920
678 | PRODDUTUR | 11KV Rameswaram Water works | 1016 | 3 | 10046
679 | PRODDUTUR | 11KV Andaman Water Works | 7 | 3 | 5242
680 | PRODDUTUR | 11KV D.D.C. | 5233 | 1 | 945
681 | PRODDUTUR | 11KV Rameswaram | 4528 | 4 | 8656
682 | PRODDUTUR | 11KV Express | 4803 | 7 | 14852
683 | PRODDUTUR | 11KV YTL Road | 1068 | 1 | 3459
684 | PRODDUTUR | 11KV Sree Ram Nagar | 5614 | 3 | 9904
685 | PUNGANURU | 11KV Kothindlu | 2622 | 0 | 0
686 | PUNGANURU | 11KV Rahamath Nagar | 6760 | 6 | 6035
687 | PUNGANURU | 11KV Melupatla | 3641 | 2 | 3956
688 | PUNGANURU | 11KV Koneru | 4579 | 7 | 14445
689 | PUNGANURU | 11KV N S peta | 1631 | 0 | 0
690 | PUNGANURU | 11KV Nagari | 3888 | 5 | 13931
691 | PUNGANURU | 11KV Nagapalyam | 4291 | 5 | 8358
692 | RAYACHOTI | 11KV Masapeta | 5116 | 5 | 8212
693 | RAYACHOTI | 11KV Old Rayachoty | 7810 | 5 | 7515
694 | RAYACHOTI | 11KV RAYACHOTI TOWN | 16516 | 8 | 15321
695 | RAYACHOTI | 11KV Bustand Road | 17916 | 6 | 12640
696 | RAYACHOTI | 11KV Trunk Road | 5614 | 9 | 19128
697 | RAYACHOTI | 11KV T.S.Palli Road | 14102 | 0 | 0
698 | RAYADURG | 11KVRayadurg Town-II | 9877 | 9 | 17687
699 | RAYADURG | 11KVRayadurg Town-I | 17352 | 7 | 17245
700 | REPALLE | 11KV Repalle Local I | 5630 | 13 | 19305
701 | REPALLE | 11KV Repalle Local IV | 5270 | 4 | 5264
702 | REPALLE | 11KV Repalle Local III | 4944 | 4 | 11294
703 | REPALLE | 11KV Repalle Town V | 4368 | 10 | 20768
704 | REPALLE | 11KV Repalle Local II | 3709 | 6 | 20412
705 | SATTENAPALLI | 11KV Town.A | 74 | 2 | 3367
706 | SATTENAPALLI | 11KV Nandigama | 9793 | 4 | 7048
707 | SATTENAPALLI | 11KV BSNL | 2814 | 0 | 0
708 | SATTENAPALLI | 11KV MADDURU BAVI | 3158 | 6 | 12272
709 | SATTENAPALLI | 11 KV New Feeder | 1903 | 1 | 588
710 | SATTENAPALLI | 11KV NAGARJUNA NAGAR | 2012 | 4 | 9429
711 | SATTENAPALLI | 11KV Town.C | 4252 | 5 | 6634
712 | SATTENAPALLI | 11KV Town.B | 6192 | 2 | 3586
713 | SATTENAPALLI | 11KV Indl. | 1489 | 4 | 7721
714 | SATTENAPALLI | 11KV Town.D | 2589 | 2 | 3760
715 | SATTENAPALLI | 11KV Phanidam | 2803 | 1 | 1810
716 | SRIKALAHASTI | 11KV Four Mada Streets | 3143 | 0 | 0
717 | SRIKALAHASTI | 11KV Baskar Peta | 4208 | 1 | 2422
718 | SRIKALAHASTI | 11KV Court | 3154 | 1 | 1245
719 | SRIKALAHASTI | 11KV Kothapeta | 5353 | 1 | 1308
720 | SRIKALAHASTI | 11KV SannidhiVeedhi | 2765 | 2 | 2811
721 | SRIKALAHASTI | 11KV Temple | 3143 | 0 | 0
722 | SRIKALAHASTI | 11KV Panagal | 4860 | 2 | 1581
723 | SRIKALAHASTI | 11KV Kanta Street | 2235 | 1 | 933
724 | SRIKALAHASTI | 11KV Town-2 | 5371 | 2 | 1397
725 | SRIKALAHASTI | 11KV Town-4 | 1692 | 2 | 1940
726 | SRIKALAHASTI | 11KV Cinema Street | 4375 | 1 | 1399
727 | SRIKALAHASTI | 11KV S.R.N.Colony | 2422 | 2 | 1608
728 | SRIKALAHASTI | 11KV Bahadurpet | 6875 | 2 | 1591
729 | SRIKALAHASTI | 11KV Kasa Garden | 7584 | 1 | 2158
730 | SRIKALAHASTI | 11KV C.G.Puram | 412 | 1 | 1862
731 | SRIKALAHASTI | 11KV Town-1 | 12081 | 1 | 652
732 | TADIPATRI | 11 KV Nandalapadu | 6075 | 4 | 6728
733 | TADIPATRI | 11KV Tadipatri Town-II | 1644 | 6 | 16050
734 | TADIPATRI | 11KV Tadipatri Town-I | 6954 | 4 | 6548
735 | TADIPATRI | 11KV C.P.I Feeder | 12316 | 11 | 28358
736 | TADIPATRI | 11KV Nandayal Road | 8413 | 4 | 5876
737 | TADIPATRI | 11KV Yellanur Road | 6569 | 3 | 3365
738 | TENALI | 11KV Tenali Local IV | 4707 | 2 | 7684
739 | TENALI | 11KV Tenali S.S.Palem | 2993 | 5 | 12048
740 | TENALI | 11KV Tenali Industrial Estate | 4775 | 0 | 0
741 | TENALI | 11KV Tenali UDA | 5231 | 4 | 9263
742 | TENALI | 11KV Tenali Railway Station | 2017 | 3 | 7808
743 | TENALI | 11KV Ganganammapet | 6208 | 2 | 4899
744 | TENALI | 11KV Wahab Chowk | 4761 | 3 | 8974
745 | TENALI | 11KV Tenali Water Works | 1857 | 2 | 3234
746 | TENALI | 11KV Tenali Government Hospital | 2916 | 0 | 0
747 | TENALI | 11KV CN Colony | 1902 | 3 | 8136
748 | TENALI | 11KV Pinapadu | 3728 | 2 | 6960
749 | TENALI | 11KV Sulthanabad | 4409 | 2 | 7158
750 | TENALI | 11KV Tenali Auto Nagar | 1919 | 6 | 19182
751 | TENALI | 11KV Tenali Local IX | 2303 | 4 | 8445
752 | TENALI | 11KV Tenali Local III | 3670 | 0 | 0
753 | TENALI | 11KV Tenali Local XI | 6086 | 3 | 4065
754 | TENALI | 11KV Tenali Local V | 6420 | 6 | 8805
755 | TENALI | 11KV Tenali Local I | 4788 | 4 | 9014
756 | TENALI | 11KV Tenali Local VIII | 2440 | 2 | 4782
757 | TENALI | 11KV Tenali R.R.Nagar | 2142 | 4 | 5368
758 | TENALI | 11KV Balajiraopet | 3559 | 2 | 4456
759 | TENALI | 11KV Tenali Local VI | 3452 | 3 | 8737
760 | TENALI | 11KV Tenali Local X | 3914 | 0 | 0
761 | TIRUPATI | 11KV VIDYAPEETAM | 6491 | 0 | 0
762 | TIRUPATI | 11KV VAIKUNTA PURAM & NEW BALAJI COLONY | 7029 | 1 | 1798
763 | TIRUPATI | 11KV TIRUPATI I | 3072 | 0 | 0
764 | TIRUPATI | 11 KV SRI PADMAVATHI GUEST HOUSE | 3583 | 0 | 0
765 | TIRUPATI | 11KV P.K.LAYOUT | 4422 | 2 | 2999
766 | TIRUPATI | 11KV SVIMS | 5936 | 0 | 0
767 | TIRUPATI | 11 KV TTD (S.V.POOR HOME) | 4388 | 0 | 0
768 | TIRUPATI | 11KV FOOT PATH & SCINCE CENTRE | 15623 | 0 | 0
769 | TIRUPATI | 11KV NEW BALAJI COLONY | 6581 | 1 | 1677
770 | TIRUPATI | 11KV HOUSING BOARD Colony | 13594 | 0 | 0
771 | TIRUPATI | 11KV THIMMINAIDU PALEM | 3284 | 0 | 0
772 | TIRUPATI | 11KV THYAGARAJA NAGAR | 9337 | 0 | 0
773 | TIRUPATI | 11KV BAIRAGIPATTEDA | 3567 | 0 | 0
774 | TIRUPATI | 11KV MAHILA UNIVERSITY | 6307 | 2 | 2247
775 | TIRUPATI | 11KV RC ROAD | 4174 | 3 | 9096
776 | TIRUPATI | 11KV TIRUPATI III | 6613 | 0 | 0
777 | TIRUPATI | 11KV SN PURAM | 8076 | 1 | 2252
778 | TIRUPATI | 11 KV S.V. POLYTECHNIC | 384 | 1 | 3372
779 | TIRUPATI | 11KV TTD PRESS | 1465 | 0 | 0
780 | TIRUPATI | 11KV RAMULAVARI TEMPLE | 4569 | 1 | 1061
781 | TIRUPATI | 11 KV TMC | 6556 | 0 | 0
782 | TIRUPATI | 11KV TIRUPATI II | 3750 | 1 | 2409
783 | TIRUPATI | 11KV BLISS | 3510 | 0 | 0
784 | TIRUPATI | 11 KV KHADI COLONY | 5062 | 2 | 4547
785 | TIRUPATI | 11KV ISKCON | 3067 | 1 | 1981
786 | TIRUPATI | 11 KV WATER WORKS | 2 | 2 | 4650
787 | TIRUPATI | 11 KV KTF | 3744 | 0 | 0
788 | TIRUPATI | 11KV BHAVANI NAGAR AND T.K.STREET | 3568 | 2 | 6486
789 | TIRUPATI | 11KV MEDICAL COLLEGE | 493 | 1 | 529
790 | TIRUPATI | 11KV KESAVAYANA GUNTA | 3590 | 1 | 2085
791 | TIRUPATI | 11KV CMD | 3199 | 1 | 559
792 | TIRUPATI | 11KV LEELA MAHAL(MANGALAM) | 8660 | 1 | 2915
793 | TIRUPATI | 11KV UPADYAYA NAGAR | 7795 | 2 | 1963
794 | TIRUPATI | 11KV AIR | 4771 | 0 | 0
795 | TIRUPATI | 11KV MUNIREDDY NAGAR | 6960 | 2 | 2314
796 | TIRUPATI | 11KV AVILALA | 1644 | 1 | 1441
797 | TIRUPATI | 11 KV DWARAKA NAGAR | 2885 | 1 | 3805
798 | TIRUPATI | 11KV NARASIMHATHEERTHAM | 1624 | 2 | 2610
799 | TIRUPATI | 11 KV S.V.U. ADMINISTRATIVE BUILDING | 2996 | 0 | 0
800 | TIRUPATI | 11 KV VIDYAPEETAM - 2 | 4155 | 0 | 0
801 | TIRUPATI | 11 KV S.V.VETERINARY UNIVERSITY | 152 | 0 | 0
802 | TIRUPATI | 11KV MARUTHI NAGAR | 7811 | 3 | 10243
803 | TIRUPATI | 11KV KENCES | 274 | 3 | 4608
804 | TIRUPATI | 11KV VISHNU NIVASAM | 3283 | 0 | 0
805 | TIRUPATI | 11KV SVRR | 144 | 0 | 0
806 | TIRUPATI | 11KV MARRY CHENNA REDDY COLONY | 6590 | 1 | 1506
807 | TIRUPATI | 11KV LIC ROAD | 4939 | 3 | 4659
808 | TIRUPATI | 11KV PV PURAM | 2745 | 0 | 0
809 | TIRUPATI | 11KV SANJAY GANDHI COLONY | 6392 | 1 | 2524
810 | TIRUPATI | 11KV YERRAMITTLA(LEELA MAHAL) | 2763 | 0 | 0
811 | TIRUPATI | 11KV M.K.NAIDU COLONY | 3797 | 3 | 8534
812 | TIRUPATI | 11KV WATER WORKS & SUNDARAIAH NAGAR | 44 | 0 | 0
813 | TIRUPATI | 11KV SV PURAM | 12717 | 1 | 1523
814 | TIRUPATI | 11KV TILAK ROAD AND REDDY REDDY COLONY | 4078 | 2 | 4029
815 | TIRUPATI | 11KV Giripuram | 3550 | 1 | 1252
816 | TIRUPATI | 11KV JEEVAKONA | 6871 | 1 | 1713
817 | TIRUPATI | 11KV TIRUMALA NAGAR AND BTR COLONY | 5478 | 4 | 8263
818 | TIRUPATI | 11KV BALAJI COLONY | 2746 | 1 | 1756
819 | TIRUPATI | 11KV TOWN CLUB | 3421 | 2 | 3095
820 | TIRUPATI | 11KV PRAKASAM ROAD | 4220 | 2 | 4019
821 | TIRUPATI | 11KV KORLAGUNTA | 7722 | 2 | 6231
822 | TIRUPATI | 11KV PLR GRAND | 3957 | 4 | 8617
823 | TIRUPATI | BTR Colony | 2015 | 0 | 0
824 | TIRUPATI | 11KV SRINIVASAM | 1456 | 0 | 0
825 | TIRUPATI | 11KV NARAYAN PURAM | 25801 | 0 | 0
826 | URAVAKONDA | 11KVUravakonda Town | 12288 | 12 | 20632
827 | VENKATAGIRI | 11KV TOWN 3 | 5129 | 3 | 5134
828 | VENKATAGIRI | 11KV TOWN 5 | 4156 | 2 | 5449
829 | VENKATAGIRI | 11KV TOWN 2 | 3870 | 3 | 3921
830 | VENKATAGIRI | 11KV TOWN 1 | 4125 | 2 | 1999
831 | VENKATAGIRI | 11KV TOWN 4 | 3551 | 9 | 17883
832 | VENKATAGIRI | 11KV TOWN 6 | 4740 | 0 | 0
833 | VIJAYAWADA | 11KV Besant Road | 3705 | 0 | 0
834 | VIJAYAWADA | 11KV SURYARAOPETA FEEDER | 24568 | 0 | 0
835 | VIJAYAWADA | 11KV Bandar Road II | 2041 | 1 | 2320
836 | VIJAYAWADA | 11KV SATYA SAI FEEDER | 2623 | 0 | 0
837 | VIJAYAWADA | 11KV E.S.I | 4442 | 1 | 1404
838 | VIJAYAWADA | 11KV ASNAGAR-2 | 3752 | 2 | 7429
839 | VIJAYAWADA | 11KV GULABITHOTHA | 2447 | 0 | 0
840 | VIJAYAWADA | 11KV MUSIC COLLEGE | 2748 | 0 | 0
841 | VIJAYAWADA | 11KV Geetha Nagar | 4788 | 1 | 2492
842 | VIJAYAWADA | 11KV MARUTHI NAGAR FEEDER | 5088 | 0 | 0
843 | VIJAYAWADA | 11KV Tank Bund | 3602 | 1 | 2815
844 | VIJAYAWADA | 11KV GEETAMANDIRAM FEEDER | 6629 | 1 | 621
845 | VIJAYAWADA | 11KV Telephone exchange | 3973 | 1 | 2519
846 | VIJAYAWADA | 11KV Station Transformer | 12190 | 1 | 609
847 | VIJAYAWADA | 11KV Katurivari Street | 3395 | 1 | 621
848 | VIJAYAWADA | 11KV Chitturi Complex | 3828 | 1 | 1005
849 | VIJAYAWADA | 11KV Bodemma Hotel | 1477 | 0 | 0
850 | VIJAYAWADA | 11KV Bavanarayana Street | 3851 | 0 | 0
851 | VIJAYAWADA | 11KV Jandachettu | 5743 | 0 | 0
852 | VIJAYAWADA | 11KV M.G ROAD FEEDER | 4080 | 1 | 1153
853 | VIJAYAWADA | 11KV ELURUROAD | 3599 | 0 | 0
854 | VIJAYAWADA | 11KV DURGAPURAM | 5759 | 1 | 589
855 | VIJAYAWADA | 11KV Ramavarappadu | 5378 | 1 | 982
856 | VIJAYAWADA | 11KV Samarangam Chowk | 5972 | 3 | 5140
857 | VIJAYAWADA | 11KV Doordarsan | 5532 | 0 | 0
858 | VIJAYAWADA | 11KV Dornakalroad | 1962 | 1 | 1915
859 | VIJAYAWADA | 11KV Kasturibaipet | 1202 | 1 | 2072
860 | VIJAYAWADA | 11KV SIDDARDHA NAGAR | 4877 | 3 | 9351
861 | VIJAYAWADA | 11KV UDA COLONY | 5493 | 1 | 2019
862 | VIJAYAWADA | 11KV ASNAGAR-1 | 3792 | 1 | 2314
863 | VIJAYAWADA | 11KV MUSEUM ROAD FEEDER | 884 | 0 | 0
864 | VIJAYAWADA | 11KV DISENY LAND | 1638 | 0 | 0
865 | VIJAYAWADA | 11KV Patamatalanka | 1822 | 1 | 2335
866 | VIJAYAWADA | 11KV Sitara Feeder | 5388 | 1 | 504
867 | VIJAYAWADA | 11KV JD Nagar | 1067 | 0 | 0
868 | VIJAYAWADA | 11KV MACHAVARAM FEEDER | 3441 | 0 | 0
869 | VIJAYAWADA | 11KV DASANJANEYA FEEDER | 1940 | 0 | 0
870 | VIJAYAWADA | 11KV Mahantipuram | 3787 | 2 | 5014
871 | VIJAYAWADA | 11KV Gunadala | 2957 | 1 | 991
872 | VIJAYAWADA | 11KV Bharathi Nagar | 2071 | 1 | 3841
873 | VIJAYAWADA | 11KV MARYMATHA (GDL) FEEDER | 3498 | 1 | 1427
874 | VIJAYAWADA | 11KV GS Alloys | 2386 | 1 | 590
875 | VIJAYAWADA | 11KV K.C.Canal | 5564 | 1 | 2047
876 | VIJAYAWADA | 11KV NSM | 3432 | 1 | 1629
877 | VIJAYAWADA | 11KV Winchipet | 3045 | 0 | 0
878 | VIJAYAWADA | 11KV IMP | 3117 | 2 | 1865
879 | VIJAYAWADA | 11KV MUTYALAMPADU | 4027 | 0 | 0
880 | VIJAYAWADA | 11KV PAYAKAPURAM | 5850 | 1 | 3259
881 | VIJAYAWADA | 11KV Patamata Lanka | 2564 | 2 | 4122
882 | VIJAYAWADA | 11KV Santhinagar | 3425 | 1 | 795
883 | VIJAYAWADA | 11KV Satyanarayanapuram | 2283 | 1 | 515
884 | VIJAYAWADA | 11KV 10 MGD Water Works | 5594 | 1 | 2295
885 | VIJAYAWADA | 11KV Nallagate | 2584 | 0 | 0
886 | VIJAYAWADA | 11KV New RTC Colony | 1295 | 0 | 0
887 | VIJAYAWADA | 11KV AMMAKALYANAMANDAPAM | 97 | 1 | 616
888 | VIJAYAWADA | 11KV PAPPULAMILL | 5188 | 1 | 714
889 | VIJAYAWADA | 11KV KEDARESWARAPETA | 5759 | 1 | 1582
890 | VIJAYAWADA | 11KV AYODYANAGAR | 2885 | 1 | 1593
891 | VIJAYAWADA | 11KV R.L.Nagar | 7602 | 1 | 2100
892 | VIJAYAWADA | 11KV SITARAMPURAM FEEDER | 2879 | 0 | 0
893 | VIJAYAWADA | 11KV Indira Colony | 3306 | 2 | 7520
894 | VIJAYAWADA | 11KV Metla Bazar | 3241 | 1 | 2545
895 | VIJAYAWADA | 11KV Subba Rayanagar | 4122 | 1 | 3615
896 | VIJAYAWADA | 11KV LOTUS | 3274 | 1 | 1591
897 | VIJAYAWADA | 11KV Siries | 1650 | 0 | 0
898 | VIJAYAWADA | 11KV AYYAPPANAGAR | 6600 | 1 | 1206
899 | VIJAYAWADA | 11KV Nagarjuna Feeder | 2656 | 2 | 5900
900 | VIJAYAWADA | 11KV VAMBAY COLONY | 6338 | 1 | 2944
901 | VIJAYAWADA | 11KV RYTHU BAZAR | 887 | 1 | 2468
902 | VIJAYAWADA | 11KV KANDRIGA | 9307 | 1 | 991
903 | VIJAYAWADA | 11KV High School Road | 2202 | 0 | 0
904 | VIJAYAWADA | 11KV Tirumala Rao Street | 4972 | 1 | 3541
905 | VIJAYAWADA | 11KV Chowdarypeta | 3811 | 1 | 680
906 | VIJAYAWADA | 11KV CPWD | 4663 | 0 | 0
907 | VIJAYAWADA | 11KV APIIC | 1787 | 0 | 0
908 | VIJAYAWADA | 11KV Pipula Road | 2197 | 1 | 2143
909 | VIJAYAWADA | 11KV Liners India | 1499 | 0 | 0
910 | VIJAYAWADA | 11KV IALA | 960 | 1 | 689
911 | VIJAYAWADA | 11KV Autonagar Bus stand | 1951 | 1 | 592
912 | VIJAYAWADA | 11KV Indl.Estate | 1372 | 1 | 2780
913 | VIJAYAWADA | 11KV Ranigarithota | 3442 | 1 | 1779
914 | VIJAYAWADA | 11KV SIVALAYAM (GDL) FEEDER | 2621 | 0 | 0
915 | VIJAYAWADA | 11KV Bhavanipuram | 4600 | 1 | 1176
916 | VIJAYAWADA | 11KV Andhra Jyothi | 1841 | 0 | 0
917 | VIJAYAWADA | 11KV Loyola Garden | 1812 | 0 | 0
918 | VIJAYAWADA | 11KV Treasury Employees colny | 3479 | 0 | 0
919 | VIJAYAWADA | 11KV Ayyappa Nagar | 1661 | 0 | 0
920 | VIJAYAWADA | 11KV Mega Town ship | 1273 | 0 | 0
921 | VIJAYAWADA | 11KV Punnami | 4588 | 1 | 710
922 | VIJAYAWADA | 11KV JD Nagar | 1266 | 1 | 1246
923 | VIJAYAWADA | 11KV MTY Feeder | 2126 | 1 | 1620
924 | VIJAYAWADA | 11KV Fly over | 3887 | 1 | 2243
925 | VIJAYAWADA | 11KV Govt. Hospital | 4309 | 1 | 1536
926 | VIJAYAWADA | 11KV Housing Board | 3433 | 1 | 1193
927 | VIJAYAWADA | 11KV OMKAR KALYANAMANDAPAM FEEDER | 2611 | 0 | 0
928 | VIJAYAWADA | 11kv Vijaya Lakshmi Feeder | 5491 | 2 | 5406
929 | VIJAYAWADA | 11KV Indl Feeder | 3490 | 1 | 2326
930 | VIJAYAWADA | 11KV Kuddus Nagar | 4573 | 1 | 869
931 | VIJAYAWADA | 11KV CHUTTUGUNTA FEEDER | 6404 | 0 | 0
932 | VIJAYAWADA | 11KV CM CAMP OFFICE FEEDER | 3336 | 0 | 0
933 | VIJAYAWADA | 11KV V T Road | 1430 | 0 | 0
934 | VIJAYAWADA | 11KV Templefeeder | 3006 | 0 | 0
935 | VIJAYAWADA | 11KV Kamakotinagar | 2833 | 0 | 0
936 | VIJAYAWADA | 11KV Kothapeta | 8679 | 1 | 2335
937 | VIJAYAWADA | 11KV K.L.Rao | 4325 | 1 | 1749
938 | VIJAYAWADA | 11KV SUBBARAO COLONY | 2067 | 0 | 0
939 | VIJAYAWADA | 11KV P.Ghat-2 | 4602 | 1 | 1798
940 | VIJAYAWADA | 11KV H.W.Works | 2991 | 1 | 777
941 | VIJAYAWADA | 11KV Chittinagar | 3992 | 2 | 2982
942 | VIJAYAWADA | 11KV BHARATI NAGAR MAIN ROAD | 1699 | 1 | 1849
943 | VIJAYAWADA | 11KV Durga Agraharam | 1196 | 1 | 456
944 | VIJAYAWADA | 11KV SNB COLONY WATERTANK ROAD | 839 | 1 | 1361
945 | VIJAYAWADA | 11KV Nehru road | 2548 | 1 | 1798
946 | VIJAYAWADA | 11KV NANDAMURINAGAR | 4914 | 0 | 0
947 | VIJAYAWADA | 11KV Iron Yard | 4299 | 1 | 2083
948 | VIJAYAWADA | 11KV Donbosco | 3758 | 1 | 1679
949 | VIJAYAWADA | 11KV Krishnalanka | 3208 | 1 | 1937
950 | VIJAYAWADA | 11KV B.R.P feeder | 1713 | 2 | 4898
951 | VIJAYAWADA | 11KV Industrial | 3687 | 0 | 0
952 | VIJAYAWADA | 11KV Panja Centre | 2331 | 0 | 0
953 | VIJAYAWADA | 11KV Balaji Nagar | 4622 | 1 | 1994
954 | VIJAYAWADA | 11KV NRR PETA | 5127 | 0 | 0
955 | VIJAYAWADA | 11KV PASUPUTHOTA | 4016 | 1 | 643
956 | VIJAYAWADA | 11KV Kummaripalem | 3816 | 0 | 0
957 | VIJAYAWADA | 11KV DEVINAGAR | 3921 | 1 | 1862
958 | VIJAYAWADA | 11KV Vidyadharapuram | 4061 | 1 | 2199
959 | VIJAYAWADA | 11KV RAILWAYSTATION | 2799 | 0 | 0
960 | VIJAYAWADA | 11KV Auto Nagar-I | 1433 | 0 | 0
961 | VIJAYAWADA | 11KV Gurunanak(MG ROAD) FEEDER | 990 | 1 | 621
962 | VIJAYAWADA | 11KV RAMAKRISHNAPURAM | 2095 | 1 | 1595
963 | VIJAYAWADA | 11KV High Way | 1891 | 1 | 1169
964 | VIJAYAWADA | 11KV INOX | 2332 | 1 | 1934
965 | VIJAYAWADA | 11KV CVR COMPLEX | 4474 | 0 | 0
966 | VIJAYAWADA | 11KV BESENT ROAD FEEDER | 1099 | 0 | 0
967 | VIJAYAWADA | 11KV AMERICAN HOSPITAL FEEDER | 3818 | 1 | 1882
968 | VIJAYAWADA | 11KV BANDAR ROAD FEEDER | 1710 | 0 | 0
969 | VIJAYAWADA | 11KV LINERS INDIA | 686 | 0 | 0
970 | VIJAYAWADA | 11KV SVS | 1225 | 0 | 0
971 | VIJAYAWADA | 11KV Laxmi nagar | 2795 | 1 | 1790
972 | VIJAYAWADA | 11KV Giripuram | 2592 | 1 | 1091
973 | VIJAYAWADA | 11KV All India Radio | 4755 | 0 | 0
974 | VIJAYAWADA | 11KV VISALANDRA FEEDER | 1735 | 1 | 2886
975 | VIJAYAWADA | 11KVJAYAPRAKAH NAGAR | 18 | 2 | 1450
976 | VIJAYAWADA | 11KV M.R.Puram | 4587 | 1 | 538
977 | VIJAYAWADA | 11KV Currency Nagar | 1783 | 0 | 0
978 | VIJAYAWADA | 11KV Nakkala Road | 1853 | 1 | 1049
979 | VIJAYAWADA | 11KV SRR FEEDER | 3256 | 1 | 3064
980 | VIJAYAWADA | 11KV ALANKAR | 522 | 1 | 726
981 | VIJAYAWADA | 11KV ANNAPURNA | 662 | 0 | 0
982 | VIJAYAWADA | 11KV Pushkar Ghat -1 | 2507 | 2 | 1519
983 | VIJAYAWADA | 11KV NSM YKR | 1346 | 1 | 2328
984 | VIJAYAWADA | 11KV Estate feeder | 296 | 0 | 0
985 | VIJAYAWADA | 11KV EENADU | 56 | 1 | 458
986 | VIJAYAWADA | 11KV GANDHINAGAR | 1108 | 0 | 0
987 | VIJAYAWADA | 11KV GOVERNORPETA | 867 | 0 | 0
988 | VIJAYAWADA | 11KV ARANDALPET | 1060 | 0 | 0
989 | VIJAYAWADA | 11KV Srinagar Colony | 2820 | 1 | 1264
990 | VIJAYAWADA | 11KV Medical College | 1466 | 1 | 529
991 | VIJAYAWADA | 11KV Vetarnary Coloy | 2590 | 1 | 2864
992 | VIJAYAWADA | 11KV AS ROAD | 1984 | 1 | 606
993 | VIJAYAWADA | 11KV Auto Nagar-II | 2300 | 1 | 512
994 | VIJAYAWADA | 11KV RR feeder | 3516 | 3 | 5676
995 | VIJAYAWADA | 11KV Labbipet | 1613 | 1 | 2009
996 | VIJAYAWADA | 11KV Bandar Road I | 216 | 0 | 0
997 | VIJAYAWADA | 11KV Brundavan Colony | 1796 | 1 | 2973
998 | VIJAYAWADA | 11KV Electricity Colony | 2256 | 0 | 0
999 | VIJAYAWADA | 11KV JNNURM | 1125 | 1 | 3429
1000 | VIJAYAWADA | 11KV Jammichettu | 1456 | 1 | 1885
1001 | VIJAYAWADA | 11KV Prajasekthi Nagar | 1087 | 1 | 1323
1002 | VIJAYAWADA | 11KV Sivagiri | 2977 | 1 | 1507
1003 | VIJAYAWADA | 11KV Revenue Colony | 1167 | 1 | 1759
1004 | VIJAYAWADA | 11KV Kalanikethan | 1396 | 1 | 1800
1005 | VIJAYAWADA | 11KV Nimmathota | 1864 | 1 | 1395
1006 | VIJAYAWADA | 11KV NTR Circle | 5541 | 0 | 0
1007 | VIJAYAWADA | 11KV SRINAGAR COLONY | 2820 | 1 | 1264
1008 | VIJAYAWADA | 11KV Benz Circle | 1208 | 1 | 2794
1009 | VIJAYAWADA | 11KV Patamata | 11783 | 0 | 0
1010 | VINUKONDA | 11KV Karampudi Road | 4284 | 0 | 0
1011 | VINUKONDA | 11KV Vinukonda .1 | 3885 | 0 | 0
1012 | VINUKONDA | 11KV Exchange | 388 | 4 | 9510
1013 | VINUKONDA | 11KV Vinukonda.5 | 4994 | 0 | 0
1014 | VINUKONDA | 11KV Vinukonda.7 | 2708 | 0 | 0
1015 | VINUKONDA | 11KV Vinukonda.8 | 4876 | 0 | 0
1016 | VINUKONDA | 11KV Vinukonda .2 | 2448 | 4 | 8675
1017 | VINUKONDA | 11KV Vinukonda.6 | 1324 | 0 | 0
1018 | VINUKONDA | 11KV Vinukonda .3 | 6998 | 12 | 29777
1019 | YEMMIGANUR | 11KV Shiva circle | 8143 | 5 | 25471
1020 | YEMMIGANUR | 11KV Text tile -2 | 1765 | 8 | 24505
1021 | YEMMIGANUR | 11KV Petrol bunk | 4220 | 9 | 28415
1022 | YEMMIGANUR | 11KV Text tile -1 | 1580 | 10 | 24618
1023 | YEMMIGANUR | 11KV Industrial feeder | 3323 | 9 | 21614
1024 | YEMMIGANUR | 11KV Town III | 3333 | 6 | 20289
1025 | YEMMIGANUR | 11KV Town II | 6806 | 7 | 26090
1026 | YEMMIGANUR | 11KV MUNICIPAL WATER WORKS FEEDER | 2458 | 2 | 4944
1027 | YEMMIGANUR | 11KV Town I | 4679 | 5 | 29819